P L U T O N - 9 2

=================

(Version 28-jun-92)

A.L.SPEK,

BIJVOET CENTER FOR BIOMOLECULAR RESEARCH,

VAKGROEP KRISTAL- EN STRUCTUURCHEMIE,

UNIVERSITY OF UTRECHT,

PADUALAAN 8, 3584 CH UTRECHT,

THE NETHERLANDS.

INTRODUCTION TO PLUTON

PLUTON is an easy-to-use interactive graphics program. It can be

used as a tool for viewing, analysis and presentation of molecular

structures. Drawings of either individual molecules or assemblies

of molecules in a crystalline arrangement can be produced.

Coordinate input data can be either Carthesian or fractional,

originating from crystal structure determination programs such as

SHELXS86 or refinement programs such as SHELXL92.

PLUTON may be considered as a completely redesigned and

considerably expanded variety of the popular program PLUTO78 by

Motherwell and Clegg. Drawings are produced either on a display

surface (graphics terminal or workstation) called DISPLAY or as a

meta-file saving graphics instructions (called META) for later use

such inclusion in word processors (e.g. WordPerfect) or laser

printer hardcopy, suitable for publication.

Program versions are available for various platforms including

DEC/ULTRIX, SiliconGraphics, IBM RISC/6000, VAX/VMS (including VAX-

workstations) and on IBM-PC's or compatibles under MS-DOS. Several

graphics devices are supported ranging from simple tektronix 4010

terminals/emulators to X-Window graphics devices.

A drawing of a molecular structure as generated by PLUTON may be

thought of in three principle aspects: the content, the style and

the viewpoint. The content of the drawing requires the definition

of items such as ARU's (= asymmetric residue units, vide infra)

making up the list of molecules and anions to be displayed, atoms

within ARU's, connections between atoms (= bonds), labels, and unit

cell representation. By default, connected and possibly symmetry

expanded sets of atoms constituting molecules or ions will be

assembled. The style of the drawing may be like a STICK model

(atoms are points and bonds are single lines joining them), a SOLID

ball-and-spoke, ball-and-STRAW or ball-and-ROD model, mainly

differing in the default settings of the variable radii for atoms

and bonds, or a space filling model with van der Waals radii

assigned to each atom (also called CPK model). The atom types may

be distinguished with various patterns in the black-and-white mode

or colored to differentiate between the atom types. Drawings may be

made in parallel projection, perspective, or stereo-pair

perspective. By default, a STICK-style drawing will be generated.

The view direction may be chosen with reference to molecular

features such as lines and planes defined by atoms, or with

reference to the unit cell or orthogonal axial systems. The view

direction may be further modified by rotations, giving flexible

control of the viewpoint. By default a minimum overlap view is

choosen.

All input to the program is free-format, using (sub)keywords and

numerical data. The input to PLUTON is normally provided in two

parts: a disk file, in general produced by a program or prepared

with a text editor and containing the pertinent data on the

structure at hand such as atomic coordinates, followed by

interactive input of the instructions via the keyboard. In general,

a small set of instructions in terms of global keywords with

associated default parameter settings will suffice to produce a

drawing for the set of supplied atomic coordinates. Alternatively,

all input may be given on the disk file or interactively from the

keyboard.

More than one data set, separated by an ENDS card may be present on

the disk file. This is a convenient feature for browsing the

structures retrieved from the Cambridge Structural Database. In

that case, an interactively supplied END statement will not stop

program execution but load the next data set (use the instruction

STOP for premature abortion). Facilities are available (the SAVE

instruction) to run the same set of instructions on a file that

contains more than one data set (e.g. a series of structures

extracted from the Cambridge Structural Database).

Note: PLUTON is not a finished program. It is extended and improved

constantly on the basis of the needs that arise as part of our

research work, including many hundreds of crystal structure

determinations (organic, organometallic and inorganic) carried out

as part of a national crystallographic service. New features are

planned. Therefore there may be some discrepancies between the

actual program and this manual. It is advised to consult the on-

line manual (available with the HELP ALL feature of the program)

for the most current list of instructions.

Suggestions for improvement or information on errors are welcome.

Availability: The program is available free of charge from the

author for use within the academic community under the condition

that it is not redistributed. A licence fee is charged to profit

organizations.

INTRODUCTORY EXAMPLE

The following example, assumed to run on a VAX/VMS system (for

other systems see APPENDIX I), of the structure of CYTOSINE should

provide a simple introduction to the use of the program and its

potential.

The structural parameters are assumed to reside on a disk file,

named CYTO.SPF in this example, for which the contents are listed

below (free format). This particular input format is convenient for

viewing structures with parameters taken from a publication:

TITL CYTOSINE (ANHYDROUS) ACTA CRYST. B29, 1234, 1973.

CELL 13.044 9.495 3.814 90 90 90

SPGR P212121

N1   0.0222 0.0285 0.4410

C2   -.0164 0.1561 0.3276

O2   -.0998 0.1595 0.1710

N3   0.0402 0.2745 0.3877

C4   0.1308 0.2635 0.5492

N4   0.1842 0.3828 0.5967

C5   0.1705 0.1337 0.6674

C6   0.1134 0.0187 0.6084

H1   -.013  -.057  0.363

H3   0.154  0.463  0.541

H4   0.248  0.378  0.652

H5   0.237  0.128  0.796

H6   0.132  -.078  0.692

PLUTON may be invoked for this data set with the command:

PLUTON CYTO

As a result the data set CYTO is loaded and, since this file does

not contain an END instruction at the end of the file, the program

comes, after that the end-of-file has been reached on this file,

with the prompt >>, ready to receive additional data and/or

instructions interactively. When we now type in respons to the

prompt the instruction PLOT, the program will automatically

assemble a unique molecule (i.e. symmetry operations will be

applied when necessary to find connected sets of atoms), find all

bonds and generate a minimum overlap stick-style plot of the

structure (Fig. 1), optionally followed by a bell signal on

completion of the plot. The program now waits for the user to press

the RETURN (or ENTER) key to present the prompt >> again and to

accept new instructions. Alternatively, a new instruction may be

typed directly without waiting for the prompt. At this point the

minimum overlap view direction may be modified with any of the

available VIEW instructions. As an example we can rotate the

structure clockwise by 45 degrees about the horizontal X-axis with

the instruction VIEW CURRENT XROT 45 and see the effect with a new

PLOT instruction. The style of the plot may be changed into the

SOLID, STRAW, ROD or CPK style with corresponding instructions:

e.g. ROD SHADE followed by PLOT (Fig. 2) or CPK NET followed by

PLOT (Fig. 3).

A PLUTON session thus involves a series of cycles, each of which

consisting of contents, style and viewpoint modification

instructions, if any, followed by a PLOT instruction. As an aid, it

is possible to inspect the contents of the various internal tables

with instructions such as LIST ATOMS, LIST BONDS or LIST ARU. On-

line information on the available instructions is available by

typing HELP. A status line reports the current values on some of

the more relevant settings. Use HELP GRAPHICS for instructions to

change the default graphics settings.

The input set of fractional coordinates is not required to form a

connected set or even a complete molecule in case of molecules

sitting on a crystallographic symmetry element. Unless instructed

explicitly by the user, the necessarily calculations are carried

out automatically as communicated to the user by the expression

AEX:: JOIN RADII UNIQUE EXPAND. This will automatically generate a

connected set based on standard covalent radii and symmetry

expanded when applicable. Where appropriate the user is informed

about problems, new parameter values and the current status of

relevant parameters.

Intermolecular hydrogen bonds of the type Donor-H...Acceptor may

now be generated with the instruction:

JOIN HBONDS

An alternative would be

JOIN RADII INTER  H 1.2 O 1.5 N 1.5

but this will generate many unwanted additional contacts that will

have to be deleted subsequently from the bond list). The list

options (e.g. LIST ATOM, LIST BONDS or LIST ARU) may be used

following this instruction to verify that several items were added

to the atom, bond and aru lists.

A SOLID type packing diagram with the unit cell outline and viewed

down the c-axis of the structure is generated with a few additional

instructions (Fig. 4):

SOLID

PACK RANGE -0.5 1.5 -0.5 1.5 0 1

UNITCELL

VIEW ZO

PLOT

To finish the program the instruction END should be issued. The

trailer listing file provides a detailed log of the current

session. All instructions are saved on a journal file to

reconstruct previous style and orientation settings. In addition

the name of the generated meta file (if any) is given.

ON HOW IT WORKS

This section on program internals should provide a framework to

understand most of the effects of the  available instructions.

The input atomic coordinates (x, y, z) are with reference to user-

defined axes (a, b, c), which will usually be either

crystallographic unit cell axes or an arbitrary orthogonal set;

these coordinates are input as fractions of the unit cell edges or

as Angstrom units (in the latter case they are converted to and

stored internally as fractions of dummy cell edges). A second,

orthogonal system (A, B, C) (see J.D. Dunitz, X-Ray analysis and

the Structure of Organic Molecules, Cornell University Press, p235)

with coordinates (XO,YO,ZO) in Angstroms is set up internally: The

unit vector A is choosen along a, B as unit vector normal to a in

the ab plane, and C normal to A and B. This orthogonal system is

coincident with the first system when the input axes are

orthogonal. The third system is the plotting coordinate system in

cm: XP across the picture from left to right, YP up the picture

from bottom to top and ZP out of the paper. All these axial sets

are right-handed and absolute configuration is preserved in all

rotations.

As atoms are input to the program, they are stored both in the X,

Y, Z and the XO, YO, ZO coordinate system. The XP, YP, ZP system is

used only when plotting is actually being performed. Each atom has

additional information stored for it including the atom name (the

embedded element name is used by default to set various radii) and

various flags such as for inclusion in the plot and labelling. This

data structure is known as the atom list. Duplicate entries with

the same coordinates are skipped from the input stream.

The JOIN instructions (either by default or as specified) set up a

list of connections (known as bond list) between atoms. Each

connection is simply a pair of atom serial numbers referring to the

input atom list. Some JOIN instructions also find connections

between input atoms and other atoms related to the original list by

crystallographic symmetry. This may include both connections to a

symmetry related part of a molecule sitting on a special position

or intermolecular connections. In order to store these connections

for plotting, the program appends dummy symmetry-generated atoms to

the atom list and marks them with a special flag.

If the final picture is to contain several molecules, as in a

packing diagram, or a complete molecule for which the input atoms

represent only the symmetry-independent portion of it when a

molecule lies in a crystallographically special position in the

unit cell, the program will have to generate XP, YP, ZP coordinates

for the atoms in each of these molecules or symmetry-related

molecular fragments. This is controlled by two further lists: a

list of symmetry operations pertaining to the structure, input

directly using the SPGR or LATT and SYMM instructions; and a list

of 'molecules and ions' (known as ARU list) to be drawn (see

discussion on ARU & ASU below).

The program works as follows. Instructions (free format) are read

and interpreted. Various instructions add to the list of atoms and

symmetry operators. The JOIN instructions set up the connections

list and may also add to the atom and ARU-lists if connections

between ARU's are to be generated. Plotting parameters are then set

by user instructions or left at default settings. No plotting is

actually done until the PLOT instruction is read. This first sets

up the XP, YP, ZP plotting list of all atoms to be plotted. The

information in the ARU list and the current view matrix together

tell the program how to convert X, Y, Z into XP, YP, ZP. The

plotting coordinates and atom radii are scaled from Angstroms to

cm. and corrected for perspective if requested. In the non-stick

mode, all atoms in the plotting list are drawn, allowing for

obscuring of some by others and bonds, and intersection of spheres

in space-filling models and bonds in the ROD mode, except that

dummy atoms are not usually drawn - they are required only so that

connections between molecules are possible, and will generally be

duplicated by other non-dummy atoms generated in the XP, YP, ZP

list by symmetry from the original input atoms. Following the

atoms, all the bonds are drawn, omitting portions obscured by atoms

or bonds. Atoms are labelled by a routine which minimises overlap

of the labels by atoms, bonds and other labels. When the picture is

complete, the next instruction may be read.

Most data are stacked in a large array, either bottom-up or top

down, so that the stack size is the limiting factor for the size of

the problem that the program can handle. The program reports on the

maximum memory usage in the current run. The stack size is a

program implementation parameter.

The input list of atoms is checked on redundancy.

Terms and Notions.

Connected sets of atoms are assembled in the following way. The

procedure is started by first fixing a suitable atom. Next symmetry

operations are performed on all atoms in the input set to find

atoms that are connected to it. Atoms that are found to be

connected are fixed as well and used to fix yet other, possibly

symmetry transformed, atoms bonded to them as well. This procedure

continues until no new bonded atoms are found. In the simple case

of one chemical unit per asymmetric unit this constitutes an object

named a molecule and is denoted with the identity code 1555.

Symmetry related molecules are denoted by the general code sklm,

where s is the number of the symmetry operation of the space group

and k,l and m translation components. Chemical units may extend

over more than one asymmetric unit. They may have a symmetry

element that coincides with the space group symmetry such as an

inversion centre or a screw axis. In such cases we will find atoms

in the above search for a connected set of atoms  that are bonded

to the connected set at a position different from the one that was

fixed in view of an earlier connection. Those atoms are added to

the connected set and marked as symmetry related. The symmetry

operation of this atom with respect to the primary one is coded and

added to the molecule (aru) list. A chemical unit around an

inversion centre thus consists in the PLUTO78 terminology of two

molecules: 1555 and 2555. A further complication may be the

presence of more than one crystallographically independent chemical

unit in the unit cell (including solvent molecules and anions). In

that case not all atoms will be fixed when the above procedure

comes to an end when no more connected atoms are found. In that

case a new residue is started by again arbitrarily fixing a

suitable atom and expanding it to a connected set. A particular

residue r within a molecule is indicated with the code sklm.r

(e.g. 3564.03). It is understood that the code without a fraction

stands for the full collection of residues. Thus in the case of two

residues the molecule code 2562 is equivalent with the two residue

codes 2562.01 and 2562.02. In order to be more precise two new

terms have been introduced in PLUTON and PLATON. The basic

structural unit is the asymmetric residue unit ( = aru ) coded as

sklm.r. A molecule (ion) will will be an assembly of at least one

aru. The set of aru's making up the asymmetric structural unit are

called asu and encoded as sklm.

Disorder. Based on the supplied population parameters attemps are

made to suppress bonds between disorder parts with unequal

population parameter values.

INSTRUCTION SUMMARY

The order of data input and instructions is fairly flexible.

However, CELL, SPGR (or LATT and SYMM) or ANGSTROM data, if any,

and atomic coordinate data should preceed any PLOT or qualifier

instruction. CELL and SPGR (or LATT and SYMM) must come before

ATOM. The order and number of content, style and viewpoint

instructions is completely flexible, except for that all desired

parameter values must be set before the next PLOT instruction. An

interactive graphics session will consist of a repeated cycle of

qualifier and PLOT instructions. The END line is the last

instruction and may be used to finish the plot session in an

orderly fashion (see also STOP and QUIT).

By using the default settings associated with the choosen plot

style (e.g. ROD) only a few of the available instruction types are

absolutely required to produce a preliminary drawing of a

structure. The absolute minimum input is a set of Angstrom

coordinates, a PLOT instruction and END to stop the program.

In the description of individual instructions below the following

applies:

- (Sub)keywords are in uppercase and user data in lower case.

- Data in parentheses are optional.

- Choices are separated by a slash.

- Values in [] are default settings

Note: parentheses in atom names (on input) are ignored except for

that Ag denotes the atom type and Ag() the individual atom.

Lowercase input is automatically converted into uppercase

characters except for the content of the TITL line that is left as

is.

ANGLE atom-name1 atom-name2 atom-name3

The angle between the three specified atoms with atom-name2 as apex

is calculated. The three atoms are not necessarily bonded atoms,

but should be present in the current atom list. This list can be

inspected with a LIST ATOMS instruction. An individual angle may be

calculated as an aid in the analysis of the geometry of the

structure. Exhaustive geometry listings may be obtained with the

companion program PLATON. (See olso the GEOM instruction)

Example: ANGLE C(2) O2 N(2)

ARU (aru1 (aru2 ..)

This instruction adds in a cumulative fashion asymmetric residue

units (aru's) to the list of aru's to be drawn. It allows the user

to have direct control over the list of residues to be drawn. This

instruction is needed only when the automatic maintenance of this

list with the JOIN RADII and/or PACK instructions is found to be

not adequate. The ARU list may be inspected with the LIST ARU

instruction.

ARU's (e.g. aru1) are designated by a composite number (ARU) that

may be split up into five parts:

ARU = S*1000 + TX*100 + TY*10 + TZ + 555 + R*0.01, where

S is the serial number of the symmetry operator (from the complete

list to be inspected with a LIST SYMM instruction) to be applied to

the input list of coordinates; TX, TY, TZ are the unit cell

translations and R is the residue number. A negative sign of ARU

means that the specified residue should not be drawn in the

following plots, and may be used to eliminate residues temporarily

from the list of residues to be plotted. This may useful in

conjunction with the pack instruction.

Often residue numbers are not explicitly indicated and the

fractional part of ARU effectively set to zero. In this form the

complete asymmetric structure unit (ASU) is meant.

Examples: ARU 3555 7564 -1555

ARU 3564.01

Note: for packing reasons, the number of residues that can be coded

is restricted to 9 with corresponding change in aru coding.

ARU NONE/UNIQUE/INTER/RESTORE

The effective ARU list is emptied with the NONE sub-keyword. (A

LIST ARU will show that all ARU's now have negative values). The

list is reset to what it was after a previous JOIN RADII UNIQUE or

INTER instruction with the UNIQUE or INTER keywords respectively.

A RESTORE sub-keyword resets all negative entries in the molecule

list to their absolute value, so that they are active again.

If the effective ARU list is empty when the PLOT instruction is

read, a ARU 1555 instruction will be executed automatically.

Example: ARU NONE

BOX  (ON/OFF[ON]) (SHRINK shr[90]) (RATIO ratio[1.333])

By default the drawing will be surrounded with a rectangular box

outline. This setting may be changed with the ON and OFF sub-

keywords. The structure is drawn with a shrinkage factor of 90

percent relative to the automatic scale factor that fits the

drawing within the BOX-outline to provide a margin. This default

percentage may be changed with the SHRINK shr option. This option

may be also of use when a drawing which a non-default scale is

required. The three numbers shown in the bottom right, top left and

bottom left corner of the box are the cumulative rotation angles

xr, yr and zr respectively. These numbers may be used to

reconstruct this particular orientation in a later session directly

from the default UNIT orientation via a VIEW UNIT XR xr YR yr ZR zr

instruction. The default horizontal to vertical size ratio of the

box is 4/3. A ratio of 1.0 results in a square box.

Example: BOX RATIO 2 SHRINK 80

BWC TYPE atom-type bwc (atom-type bwc ...)

An alternative to color coding of atom types is a distinction of

atom types with different patterns drawn on the spheres

representing the atoms. This is useful for black-and-white hardcopy

and publication drawings. The current (default) settings may be

inspected with the LIST TYPES instruction. Available options for

bwc are  contour, net, shade, segment, dots, black, cross,

parallel, globe, meridian, horizontal, vertical, mesh, diagonal,

slant, textile and void.

Example: BWC Pd GLOBE

COLOR black/red/green/blue

This instruction may be used to change the default colour (normally

BLACK for plotters and WHITE for terminal screens) of the plot into

the one chosen (subject to the availability of colour with the

actual graphics facility). This colour is used for bonds, atom

circumference and text.

Example: COLOUR RED

COLOR TYPE atom-type col (atom-type col (...)

The color setting of an atom-type, as shown with a LIST TYPES

instruction, may be modified with the COLOR TYPE instruction. The

color code is a two-digit number, one digit for the color to be

used for the odd-numbered lines and one digit for the even-numbered

lines. 0 = blanc, 1 = black(white), 2 = red, 3 = green and 4 =

blue. E.g. a red oxygen atom   has code 22. By default the lines

are drawn horizontally. The general color format is nnmmeo with e

and o the colour numbers for the even and odd lines respectively,

mm the clockwise rotation angle for the odd lines and nn the anti-

clockwise rotation angle for the even lines relative to the odd

lines:e.g. 904522.

Example: COLOR TYPE C 01 O 22

CPK (SHADE (a1 a2 (d))/COLOR (a1 a2 (d))/NET (nh nv)/CONTOUR/

SEGMENT/BLACK/BWCOL/DOTS/GLOBE /CROSS/PARAL/MERID) (STICK)

(SPOT)

This sets parameters for a space-filling model (Corey-Pauling-

Koltum) with atomic radii that are taken by default from internal

tables and optionally with RADII ATOMS instructions. The surface

may be either globally Shaded, Coloured, Dotted, drawn with

Contours, segments, a Net structure etc. or with a pattern

dependent on the atom type (BWCOL). The keyword SHADE causes the

drawing of shade lines representing shadow from a light source

whose position is given by the two angles a1 and a2. The setting of

both angles to zero models a light source coming directly towards

the viewer along the ZP axis, so that the whole atom is shaded. The

angles a1 and a2 are rotations of the light source about YP and ZP

respectively and in that order, and d is the spacing in cm between

shading lines. Default settings are 120, -45, 0.15.

The atoms may be coloured as a function of their atom type. This

feature is implemented as the SHADE option with a1=a2=0 and d =

0.05 in the absence of other sub-keywords with the COLOR sub-

keyword.

The NET sub-keyword produces a NET with two sets of perpendicular

great-circles drawn on the surface (colored in combination with the

COLOR sub-keyword). the number of horizontal and vertical circles

may be modified with nh and nv.

The GLOBE sub-keyword produces a polar grid surface, combined with

shading.

The CONTOUR sub-keyword produces a set of parallel circles on the

surface.

The BWCOL sub-keyword may be used to differentiate between atom

types in a black-and-white plot.

The SPOT sub-keyword asks for a light reflexion spot on the

surface.

The STICK keyword produces a CPK plot combined with a STICK frame

to show the chemistry of the molecule.

Example: CPK NET COLOR SPOT

Note: CPK COLOUR DOTS  will generate white dots on the colored

atomic spheres.

CROT(X/Y/Z)(M) (COLOR [off]) (step [3.0] (nstep [100000]))

CROTX will produce a stick model rotating about the horizontal X-

axis. CROTYM gives a model rotation about y, anti-clockwise). Bonds

may be colored as a functions of the atomtypes at their end-points

with the COLOR sub-keyword.

Example: CROTX COLOR

DETACH atom-name/atom-type (TO) atom-name/atom-type

This instruction allows the elimination of bonds from the bond

list, such as those resulting from intermolecular contact searches

or between non-bonded metals.

Example: DETACH CA C

DEFINE Me# TO atom-name1 atom-name2 (...)

Replace set of bonds by one bond to the centre of gravity of the

specified atoms. This is particularly useful to represent the eta-5

bond of a metal to a cyclopentadienyl ring:

Example: DEFINE Ti TO C1 C2 C3 C4 C5

DIST atom-name1 atom-name2 (aru)

The distance between the specified and not necessarily bonded atoms

is calculated. Both atoms should be in the current atom list (to be

checked with a LIST ATOMS instruction) or explicitly generated

using the optional aru designator.

Example: DIST C1 C3

DIST C1 C3 2555.01

END/ENDS

End of plot instructions for this data set. The next data set

following an ENDS card is loaded when the SPF-file contains

multiple data sets. The program terminates when no data are left;

information on the produced files will be shown. Direct termination

is achieved with QUIT or STOP instructions.

EXCLUDE atom-names/atom-types/ALL/NONE/ORIG/UNIQUE/INTER

Exclude the specified atoms from the atom list. ORIG means all the

atoms originally input; UNIQUE means atoms generated by JOIN RADII

UNIQUE; INTER means atoms generated by JOIN RADII INTER. Bonds are

only drawn between included atoms, except that bonds to UNIQUE and

INTER atoms are drawn even if these atoms are omitted. Usually,

generated atoms need not be specifically included because they

duplicate original atoms in generated molecules. The effect of

successive INCLUDE  and EXCLUDE instructions is cumulative. INCLUDE

ALL and EXCLUDE NONE are synonymous; so are INCLUDE NONE and

EXCLUDE ALL. The default is INCLUDE ALL.

Example: EXCLUDE H

GEOM atom-name

Interactive calculation of geometry around atom, i.e bond distances

and bond angles.

HELP (ALL/BOX/BWC/COLOUR/DATA/GEOMETRY/GRAPHICS/INCLUDE/JOIN/

LABEL/LIMITS/LIST/MOLES/PLOT/RADII/SEGMENT/SIZE/

STYLE/SPGR/VIEW)

This gives on-line help on the specified type of instructions. In

particular HELP GRAPHICS will inform on the way the graphics is

implemented. HELP SPGR gives a listing of all the space group names

known to the program. HELP ALL gives the full list of available

instructions.

Example: HELP STYLE

INCLUDE atom-names/atom-types/ALL/NONE/ORIG/*/&

Include the specified atoms in the atom list. See EXCLUDE.

INORG

Instruction modifies defaults to suitable values for inorganic

compounds.

JOIN (RADII (UNIQUE (EXPAND)) (NOMOVE) (TOLE tole[0.7])

(TOL tol[0.2])/(atom-type1 r1 atom-type2 r2 ...))

A PLOT instruction that, since the start of the program or after a

RESET, was not preceded by any JOIN instruction will automatically

invoke the execution of a JOIN RADII UNIQUE EXPAND instruction.

This automatically produces a list of connections, an ARU-list and

an atom list for the possibly symmetrical molecule(s) in the

structure, based on internal covalent atomic radii. All distances

between two, possibly symmetry transformed, atoms less than the sum

of the covalent radii for the two atoms plus a tolerance (by

default tol = 0.2 Angstrom per atom) will be entered in the

connection list and related changes or additions are made to the

molecule and atom lists. Atoms are moved (unless NOMOVE disables it

to do so) to symmetry-equivalent positions in order to form

connected fragments. If the molecule has symmetry coincident with

space group symmetry operators and only the asymmetric coordinate

set supplied, the program will look for connections between the

symmetry-related portions of the molecule. This involves the

generation of dummy atoms and modification of the molecule list as

well so that the PLOT instruction will show the complete molecule.

The radii used for the automatic JOIN instruction can be inspected

with the LIST TYPES instruction. The user may override this

automatic feature by explicitly specifying the required JOIN

instruction(s) before the first PLOT instruction. When the EXPAND

sub-keyword is left out the molecules will not be fully symmetry

expanded as is needed for molecules exceeding threefold site

symmetry. Symmetry is not taken into account when in addition to

this the UNIQUE sub-keyword is left out so that the user is held

responsible to provide the correct set of atomic coordinates

assumed to be already in bonding distance. Also the atomic radii

used may be changed by their explicit specification:

JOIN RADII C 0.85 BR 1.35 H 0.4

This will find all C-C bonds less than 1.7, C-H less than 1.25 and

C-Br less than 2.2 Angstrom. Tolerance values are not added to

explicitly specified radii.

The ARU list is reset to the input set before entering the

connection search routine when a JOIN RADII instruction is read

and the connection list is also emptied.

The TOL sub-keyword may be used to change the value of tol to be

used along with the radii drawn from the internal tables (see

Appendix V).   The single keyword instruction JOIN is equivalent

with the expanded form JOIN RADII UNIQUE EXPAND.

When appropriate an additional 0.7 Angstrom is added to the

tolerance value in the automatic radii mode to catch (earth-)

alkali to non-metal contacts.

JOIN RADII INTER (HBONDS) (EXPAND) (TOL tol)/

(atom-type1 r1 atom-type2 r2 ..)

To generate intermolecular connections (e.g. Hydrogen bonds), the

keyword INTER must follow RADII. This also involves generating

dummy atoms and modifying the molecule list so that a subsequent

plot will show several molecules unless the list is changed by a

MOLES or PACK instruction.

Example:  JOIN RADII INTER N 1.5

would form the unique molecule first and then find all potential

hydrogen bonding interactions between nitrogen atoms less than 3

Angstrom. Alternatively, the sub-keyword HBONDS may be used for

which only H to acceptor contacts are generated:

JOIN RADII INTER HBONDS

For JOIN RADII INTER, the molecule list is reset to the list

generated by a previous JOIN RADII UNIQUE; the connection list

remains at the current setting and the intermolecular connections

are added to the list as they are found.

When no explicit radii are given on a JOIN RADII INTER card the

program will use radii equal to the covalent radii + 0.8 + tol.

When only part of the inter radii is specified it is implied that

the radii for the remaining atom types is to be set to zero.

The instruction JOIN HBONDS is equivalent to the expanded form JOIN

RADII INTER HBONDS.

JOIN atom-name TO atom-names (aru)

The first atom on the JOIN card is joined to each of the others.

Example: JOIN Mn1 TO C1 C2 C3 C4

JOIN atom-names/atom-types

This instruction sets up connections explicitly, adding them to

those already existing. Each atom is to be joined to the one

preceding it and the one following it in the list. Thus to draw a

benzene ring with atoms C1, C2, C3, C4, C5 and C6:

JOIN C1 C2 C3 C4 C5 C6 C1

JOIN NONE/INTRA

A JOIN INTRA instruction deletes intermolecular connections (those

generated by JOIN RADII INTER), leaving only intramolecular bonds,

including those between symmetry-related parts of a molecule

(generated by JOIN RADII UNIQUE).

JOIN NONE empties the connection list.

LABEL atom-name1 (aru) (atom-name2 (aru) (...))/atom-type1  (aru)..

The specified atoms are added to the current list of atoms to be

labelled. The program tries to find a suitable position for the

label close to the atom giving minimum overlap by other plot items.

The sub-keyword MOLES causes the symmetry code of the molecules to

be plotted against the first atom of each molecule.

Examples:

LABEL Cu N O

LABEL C1 C2 C3 N4 C5

LABEL ARU

LABEL ALL

UNLABEL *

The effect of successive LABEL instructions is cumulative.

LABEL (ON/OFF) (ALL/NONE) (ATOMS) (ARU) (UNITCELL)

((NO)PARENTHESES) (FULL/NUM)

These label instructions are global. The ALL sub-keyword gives

labelling of all atoms and is undone with UNLABEL ALL. ON and OFF

have the same effect. Atom labels may be plotted with or without

(default) parentheses.

LIST/INFO (ATOMS) (BONDS) (LINES) (MATR) (ARU) (STATUS) (TYPES)

(GRAPHICS)

This causes some of the lists held by the program to be displayed

for inspection. The same lists are sent automatically to the

trailer output file when a PLOT instruction is executed.

The ATOMS option gives a list of the input atoms together with any

dummy atoms generated by a JOIN instruction. For each atom, the

coordinates and atom radius are shown, together with flags to show

whether the atoms are currently included and/or to be labelled.

BONDS list all the (active) connections currently held with their

distance and plot style parameters.

LINES lists the information set up by RADII BONDS instructions.

MATR gives the current orientation matrix and the three

decomposition angles to reconstruct this orientation with a VIEW

UNIT XROT xr YROT yr ZROT zr instruction.

ARU gives the list of molecules.

STATUS list various parameter settings and other relevant data.

SYMM gives a list of all equivalent positions, preceded by their

internal sequence number that is used in conjunction with the ARU

instruction.

TYPES gives a listing of all atom-type dependent setting such as

radii and colours.

If none of the above keywords is given, all the information is

shown.

Example: LIST ATOMS BONDS

LIST ATOM (atom-name/atom-type/INTER)/(RESD resdnr)

This lists atom data from the atom list for the specified atom or

atom-type.

Example: LIST ATOM O

LIST BOND (atom-name1/atom-type atom-name2/atom-type/INTER)/

(RESD resdnr)

This lists bond data for the specified bond from the bond list.

Example: LIST BOND C3 C4

LIST CELL

This displays the current cell parameters for inspection.

LIST SYMM

List symmetry operations and related data.

LIST PAR (nr1 (nr2))

Option to list an internal parameter value held in the PAR list. A

range is listed when two numbers have been specified or the full

list is case that none was specified. New values may be assigned

with the SET PAR instruction.

Example: LIST PAR 5

LIST IPR (nr1 (nr2))

Option to list an internal parameter value held in the IPR list. A

range is listed when two numbers have been specified, or the whole

list is case of no range specification. New values may be assigned

with the SET IPR instruction.

Example: LIST IPR 3 5

MONO (PERSP d)

A single perspective drawing is to be produced as seen from a point

at d cm. along the ZP axis, above the centre of the drawing. The

default setting is 10000 cm. (effectively infinity) but may be set

to 60 cm. for convenient perspective viewing. The actual value is

plotted in the top right corner of the plot (zero for infinite

perspective) to avoid confusion.

OMIT OUTSIDE (xmin xmax ymin ymax zmin zmax/atom-name r/0)

All atoms with their centres outside the box defined by the

fractional coordinates xmin,...,zmax are omitted from the drawing,

together with any bonds to them. This is useful as a 'window' on a

packing diagram. The window may be reset by another OMIT OUTSIDE

instruction, or cancelled alltogether by OMIT OUTSIDE 0. Note that

molecules lying across the edge of the window will be drawn

incomplete. An alternative option is the exclusion of all atoms

with their centres outside a sphere with radius r around a

specified atom.

Example: OMIT OUTSIDE C(1) 5

OMIT OUTSIDE 0.5 1 0.5 1 -.25 .25

ORGA

Set default parameters for type organic structure.

OVERLAP (MARGIN mrg[0.10]) (SHADOW shad[0.10])(ON/OFF)/BA/BB[ON]

The overlap margin (non-bonded bond-bond, atom-atom, atom-bond

overlap) is set by default to the value mrg = 0.1 cm and the

incoming bond shadow margin to shad = 0 cm.

Overlap calculations (by default) may be turned off for fast

testruns. This should be specified before plotting and after the

specification of the plot-style.

Example: OVERLAP OFF

PACK (RANGE xmin xmax ymin ymax zmin zmax (atom-name))

This causes a search for all ARU's having their centres inside the

box defined by the fractional coordinates given. By default PACK

RANGE displays the contents of a unit cell. However, this will not

show the complete packing arrangement of the crystal; it is

necessary to supply a range that will ensure that a pair of

translated molecules will be found in each axial direction. This is

achieved by giving a range of cell translations. In most

structures, the result of a range of two in each axis is usually

too congested to be of any use, so that it is best to restrict the

range to one on the axis closest to the view direction.

e.g. PACK RANGE -0.5 1.5 -.5 1.5 0 1

might be appropriate for a z-axis projection. The instruction PACK

generates by default all ARU's with their centre within the unit

cell.

The ARU's that obey the conditions are added to the ARU list. The

ARU list is reset to ARU UNIQUE at the beginning of the search. No

other lists are affected. The ARU list may be displayed by the LIST

ARU instruction.

PACK PLAN h k l d1 d2 RANGE xmin .. zmax (atom_name)

ARU's are put in the moles list that satisfy the condition of lying

within the range xmin,...,zmax and in the neighborhood of the

specified hkl-plane (d1 and d2 are in Angstrom).

Example: PACK PLAN 1 1 1 -.5 .5 RANGE -1 2 -1 2 -1 2

PLOT (DISPLAY/PLOTTER/META) (LIST) (MOGLI) (3/2)

This produces a drawing using the information set up by the

previous instructions on either the current graphics medium

(default) or on the specified medium (Display, Plotter or Meta-

file). The default medium is either the one previously set or the

display by default. An automatic JOIN RADII UNIQUE EXPAND

instruction is executed when no previous JOIN instruction was given

and a VIEW MIN instruction is case of no previously given VIEW

instruction. The MOGLI option may be used to generate DGE and OBY

files to be used to view the molecule in 3D with the PSSHOW program

of the MOGLI package on a PS300 display (use PLOT CAL MOGLI to

generate the files without display or plotter output).

The special instruction PLOT CAL 3 will generate a file with full

3D vector information for a ROD-style plot, independent of previous

parameter settings.

PUT atom-name/atom-type/OR/OA/OB/OC position

(atom-name/atom-type/OR/OA/OB/OC position .. )

position:

N, NE, E, SE, S, SW, W, NW, NUCL, AUTO

The automatic label positioning routine considers eight (or nine in

the case of SOLID NUCL) possible positions for each label. These

are conveniently designated by the compass directions N, NE, E, SE,

S, SW, W, NW (or NU). The PUT instruction forces particular atom

labels into positions chosen explicitly by the user. Atoms named

here are positioned first, then the automatic routine places the

rest. A position may also be given as AUTO, so that all atoms of a

given type can be fixed and then specific exceptions made:

Example: PUT C SE C12 W C14 AUTO

PUT instructions must follow LABEL. They will be ignored if they

precede it.

QUIT

This gives immediate exit from the program.

RADII ATOMS COVALENT/CPK/AUTO/ALL r

This globally sets the atomic radii (Angstrom) for the plotting of

the spheres in the SOLID, ROD and CPK style. The appropriate

instruction is normally executed automatically.

In the SOLID and ROD mode spheres are drawn at 0.5 times their

covalent radius and in the CPK mode at the covalent radius + 0.8.

RADII ATOMS atom-type1 r1 (atom-type2 r2 (...) )

This instruction may be used to input user defined radii for the

spheres to be drawn. The actual values may be listed with a LIST

TYPES instruction.

RADII BONDS (DASH) ALL r n

Bonds in SOLID or ROD drawings have cylindrical radius r Angstrom

(default 0.04 and 0.2 resp.) and are drawn with n (default n = 8)

lines along the circumference of the cylinder, spaces (180/(n+1))

degrees apart on the visible side of the cylinder. This instruction

resets r and n for all bonds.

RADII BONDS (DASH) TO atom-name/atom-type r n

This sets r and n for all bonds to a particular atom or atom type.

This may be useful to emphasize coordination of a particular atom.

To produce single-line bonds, set r - 0 and n = 1. Bonds with n =

0 are omitted.

RADII BONDS (DASH) atom-name1 atom-name2 r n

This sets r and n for a particular bond already in the connection

list.

RADII BONDS (DASH) INTER/NORMAL r n

This sets r and n for all intermolecular bonds created by a JOIN

RADII INTER instruction. This is useful, for example, in

distinguishing hydrogen bonds.

RADII BONDS ALL not only resets r and n for all bonds, but also

cancels all other RADII BONDS instructions which have already been

given, i.e. 'all' really means all. To reset r and n for all bonds

EXCEPT special ones, use this instruction instead.

When the program is drawing the bonds, it looks though the list of

the RADII BONDS instructions and assigns the r and n values of the

last instruction given which is relevant to the bond being drawn.

In this way the result of conflicting instructions can be

controlled by the order in which the data card are given. An

example of such a list of instructions:

RADII BONDS ALL 0.05 5

RADII BONDS INTER 0.02 2

RADII BONDS TO CU1 0 1

RADII BONDS TO NA 0.03 2

RADII BONDS CU1 O4 0.06 10

Note, however, that if a particular RADII BONDS instruction is

given a second time with different values of r and n, this resets

r and n without altering the order of the RADII BONDS instructions.

E.g., the sequence

RADII BONDS TO H 0.02 4

RADII BONDS INTER 0 1

RADII BONDS TO H 0.03 7

is equivalent to

RADII BONDS TO H 0.03 7

RADII BONDS INTER 0 1

i.e. the second RADII BONDS TO H instruction directly replaces the

first.

RADII BONDS TAPER t

In order to enhance the perspective effect of drawings (see MONO

and STEREO options), bonds are drawn with an exaggerated taper, the

degree of exaggeration being set by the parameter t. t = 1 gives

maximum exaggeration. The default setting is 0.375. Tapering is

applied even if the viewing distance is effectively infinite,

unless t = 0.

RENAME at1 at2 (at3 at4 (...))

RESET

Before any plotting instructions are read, various default

parameters for plotting must be set. This is automatically done at

the beginning of the program, but can also be done at any time by

use of RESET.

RETRACE LABELS (n (d))

Labels are retraced n times.

ROD  (NUCL/SHADE (a1 a2 (d))/GLOBE/NET (nh nv)/CONTOUR/SEGMENT/

DOTS/BWCOL/BLACK/CROSS/PARAL/MERID)/(COLOR (a1 a2 (d)))

(SPOT)

This prepares for a ROD-style plot with atoms optionally shaded,

coloured, drawn with a net or contoured surface or individually

characterized (see CPK for further information).

SAVE (AUTO)

This instruction may be used to save instructions to be used on

other data sets as well. This feature is useful when examining a

series of structures taken from the crystallographic data base. All

instructions following a SAVE instruction until an END are saved.

SEGMENT (plotstep (substep))

Plotstep and substep are parameters that determine the accuracy of

the plot, the speed and the computing time needed for the plot.

Testing for overlap is done in steps of size plotstep. When a

problem is encountered the testing will be redone in steps of size

plotstep/substep. The default values are 0.1 cm and 4  steps

respectively. For accurate plots, in particular on either the

plotter or the meta-file, values of 0.01 cm and 1 are recommended

for the above parameters.

SET (IPR/PAR) nr val

This instruction is not meant for general use. It provides a

facility to modify internal parameters, in particular those with no

equivalent (sub)keyword.

SIZE sz (SCALE sc) (CHAR ch) (TITLE ti)

The default character size (ch = 0.4 cm) may be changed with a SIZE

0 CHAR ch instruction. Similarly, the default character size of the

title (ti = 0.5 cm) may be changed with the TITLE sub-keyword: SIZE

0 TITL ti.

The other option are not effective as yet.

SOLID (NUCL/SHADE (a1 a2 (d))/COLOR (a1 a2 (d))/NET (nh nv)/

GLOBE/SEGMENT/CONTOUR/SEGM/DOTS/BWCOL/CROSS/PARAL/MERID)

(SPOT)

This gives a PLUTO-type bond and stick plot. See the CPK

instruction for other keywords.

STEREO (SMALL) (RG/GR/RB/BR/CROSSED) (PERSP d)

This produces a stereo pair, as seen by an observer with eye-

separation of 6 cm. at a distance d ( default 60) cm along the ZP

axis. If the keywords RG or GR are present, the left-eye and right-

eye views are superimposed instead of being placed side-by-side,

but are drawn in different colors, so that the stereo effect can be

observed using appropriate red/green or green/red filters. The sub-

keyword CROSSED allows for crossed eye vision.

STICK (COLOR)

This asks for a stick model drawing, i.e. one in which the atoms

are points and the bonds single lines. A succession of such

drawings requires very little computing and plotting time, and is

useful as a preliminary run for checkout and to find a good view

direction.

Note: since atoms are represented by points in this presentation,

as are bonds when viewed along their direction, non-bonded atoms

and some linear molecules viewed from the end are not shown in

STICK plots.

STOP

This gives an immediate EXIT from the program.

TITL text

The title of the plot is normally taken from the TITL card that

preceded the coordinate data. It can be overruled with a new TITL

instruction.

TORSION atom-name1 atom-name2 atom-name3 atom-name4

The dihedral angle (not necessarily involving bonded atoms) for the

specified atoms is calculated as an aid to analyze the geometry of

the structure (exhaustive geometry listings may be obtained with

the companion program PLATON).

Example: TORSION  C(2) O2 N(2) C(4)

UNITCELL (OFF/ON) (rbo nli)

This allows a unit cell outline to be drawn. The outlines are

treated as bonds. Their default setting is: rbo = 0.01 and nli = 2

UNLABEL (atom-names/atom-types/ALL/(UNITCELL) (ATOMS) (ARU))

This instruction may be used to unlabel. see LABEL.

VIEW INSTRUCTIONS

A great variety of instructions is available for the specification

of the viewpoint. By default a minimum overlap instruction is

executed. Other instructions allow the view direction to be chosen

by the user in terms of crystal or orthogonal axes, in terms of

molecular features, by rotation about the plotting axes from a

previously defined view, by rotation about any other line or bond

from a previously defined view.

VIEW MIN (rotations)

This produces a minimum overlap view. The view is perpendicular to

the least-squares plane through the included atom set as generated

for the current molecule list. A VIEW MIN instruction is executed

automatically with a PLOT instruction when no previous VIEW

instruction was given.

Example: VIEW MIN XR 45

VIEW UNIT (rotations)

This produces a view with XO along XP (horizontal)  and YO along YP

(vertical), possibly modified with a sequence of rotations. A given

orientation may be reconstructed, independent from its history,

using the three rotation values that are shown in the lower right

corner (xr), the upper left corner (yr) and the lower left corner

(zr) with the instruction:

VIEW UNIT XROT xr YROT yr ZROT zr

VIEW is equivalent with VIEW UNIT.

VIEW CURRENT (rotations)

This instruction updates the current view matrix. VIEW rotations is

equivalent with VIEW CURRENT rotations.

VIEW XO/YO/ZO (rotations)

View along one of the orthogonal axes towards the origin.

VIEW AFACE/BFACE/CFACE (rotations)

For a view along the line from the point (1.0, 0.5, 0.5), (0.5,

1.0, 0.5) or (0.5, 0.5, 1.0) towards the origin (crystal

coordinates).

VIEW ALIGN atom-name1 atom-name2 (aru) WITH XP/YP rotations

This causes an automatic ZROT sufficient to bring the projection of

the line between the two atoms parallel to the plotting XP (YP)

axis. A warning message is issued when the two atoms are

superimposed in the current view, so that this instruction is not

uniquely defined.

Example: VIEW ALIGN C1 C2 WITH YP

Note: to bring the vector between the atoms atom_name1 and

atom_name2 parallel to XP use the instruction VIEW LINE atom_name1

atom_name2  YROT 90

VIEW DIRECTION x y z (rotations)

This defines a view along the line from the point (x,y,z) towards

the origin (crystal coordinates). This may be useful for views down

the crystal axes for non-orthogonal crystal systems.

VIEW LINE atom-name1 atom-name2 (rotations)

The direction of view is from the first atom to the second.

VIEW BISECT atom-name1 atom-name2 atom-name3 (rotations)

The view is into the angle n1-n2-n3 with n2 deepest in the plot.

VIEW PERP atom-name1 atom-name2 atom-name3 (rotations)

The view is perpendicular to the plane containing the three atoms,

seen from the side which makes a clockwise order of the atoms in

the plot n1-n2-n3.

VIEW INVERT (rotations)

An inverted image with respect to the current image is obtained

with this instruction.

VIEW MATRIX r11,r12, .. ,r33 (rotations)

This option allows direct input of the view rotation matrix (by

row), if it has been previously calculated by another program. An

error message will be produced by a matrix for which the

determinant is not within reasonable rounding errors of +/-1.

rotations:

(XROT xr)(YROT yr)(ZROT zr)(LROT lr x y z)

(OROT or x y z)(PROT pr x y z)

(BROT atom_name1 atom_name2 br)

Examples of VIEW instructions:

VIEW MIN

VIEW YO

VIEW AFACE ZROT 15

VIEW DIRECTION 0.25 0.25 1

VIEW LINE PT1 BR1

VIEW BISECT C1 C2 C3

VIEW PERP N1 CU1 N2

VIEW LINE C1 C2 ZROT 90 YROT -30

VIEW CURRENT BROT C1 C2 -45

APPENDIX - I  : IMPLEMENTATIONS

PLUTON consists of a main program, over 58 dedicated subroutines,

a BLOCK DATA statement, a general SPACE GROUP SYMMETRY handler and

a graphics driver package. It is written in FORTRAN-77 and contains

only a few system dependent features that are isolated in routines

that are marked as such. X-Window versions under UNIX include a

routine writtem in C to interface Fortran to Xlib-routines.

The FORTRAN parameter NP1 determines the upper bound of the problem

that can be handled by the program. This parameter may be changed

to suite best the needs of the user and the constraints of the

implementation.

VAX/VMS - Implementation:

The program source may be compiled with the DCL command: FORTRAN

PLUTON and linked with the DCL command: LINK PLUTON in much the

same way as SHELXS-86.

A symbol like PLU*TON == "$ $DISK1:[USER.PLUTON]PLUTON" should be

defined (preferably in the SYSLOGIN.COM.)

The program may then be invoked with the command PLUTON COMPOUND in

the directory containing the file COMPOUND.SPF with pertinent

structural parameters for the structure COMPOUND. All files

associated with COMPOUND will have this name with varying

extensions. The default filename is ATOM.SPF when the program is

invoked with the command PLUTON.

A special version is available for VAX-workstations using UIS-

graphics.

UNIX - Implementations.

Versions are available running on Silicon-Graphics, DEC/ULTRIX,

ESV3 or Convex systems. The SG version uses the Graphics Library

Routines available on the SG. The last three are X-Window

implementations.

The program source for the X-versions may be compiled with:

f77 -o pluton pluton.f xdrvr.c -vms -lX11

Note: all filenames are in lowercase.

CDC-CYBER NOS/VE - Implementation:

The program source may be compiled with:

FTN I=PLUTON_FOR BO=PLUTON_LGO FS=ON

and executed with:

EXET PLUTON_LGO

The parameter file is expected on the file ATOM_SPF.

PC-MS/DOS - Implementation:

In this case the program is supplied as an executable. It was

compiled with the Ryan-McFarland version 2.43 compiler and depends

on some assembler routines for graphics support. The program is

simply invoked with the command: PLUTON COMPOUND. The program

depends on the availability of a co-processor: it will terminate

with error message 4001 otherwise. The program is dimensioned to

fit in 640K MS-DOS machines. The number of files and buffers in

CONFIG.SYS should be raised to 20. The program requests for the

available graphics type and stores the supplied information in a

diskfile named CONFIG.PLT for future automatic reference. The

coprocessor functions may be emulated (slow!) by software available

from various public domain sources.

note: A maximum of 7 characters is allowed for filenames.

APPENDIX - II : PARAMETER FILE

The atomic parameters (including unit cell parameters, symmetry and

coordinates) for a given structure may be entered in one of the

following ways:

a - The STANDARD PARAMETER FILE Format (SPF).

b - SHELX-76 and SHELXS-86 type Format

c - Simple Coordinate Format and Angstrom data

d - CIF-style (Restricted)

The SPF-file is card image oriented. The first four characters on

a card specify the nature of the data that follow on that card.

Data that are not needed for the current program are simply

skipped. All data are read free format. All input data are

transformed to upper case except the text on the TITL card.

Note: A card image may be continued on the next one by putting an

'=' sign on the one to be continued. This does not apply for a TITL

card.

CARD TYPES RELEVANT TO PLUTON

TITL text

This text is used for various titleing purposes. It may be

overridden at any time by another TITL instruction. This card is

optional.

CELL (wavelength) a b c alpha beta gamma

Optional wavelength and cell parameters in Angstroms and degrees

respectively. No CELL card should be given when Angstrom data input

is intended (see ANGSTROM instruction). This card should preceed

any fractional coordinate data.

SPGR space-group-name

Space group symbol. See Appendix-III for more details. Space group

P1 is assumed when no symmetry is specified.

LATT (P/A/B/C/I/F/R (A/C))

First parameter specifies the Bravais lattice type and the second

whether the lattice is acentric or centric. See Appendix-III for

details.

SYMM symmetry-operation

See appendix-III for details.

ATOM atom_name x y z (pop) (sig(x) sig(y) sig(z)) (spop)

This specifies the positional parameters, the population and their

estimated standard deviations. The atom_name should conform some

rules in order to be acceptable since it is interpreted. The first

one or two characters should correspond to an element name known to

the program. The number of characters of the element type and that

of the attached digital number cannot exceed 4.

Acceptable labels are: Ag Zn(2) C(2A) Fe1b

Note: QW is equivalent to O and Q1 is equivalent to C1.

TRNS (t11,t12,t13,t21,t22,t23,t31,t32,t33) (sh1,sh2,sh3)

This optional instruction may be used to transform the data to a

new unit cell. The first nine data items are the elements of the

matrix that describes the transformation of the cell axes ( = new

axis in terms of old ones). The origin may be shifted over the

vector (sh1,sh2,sh3). Related matrices are used to transform the

atomic coordinates. The TRNS instruction should be given before any

ATOM card is read and before the CELL card when it is to be

transformed as well. The space group symmetry is not transformed

and should apply to the transformed data.

THE SHELX-76 STYLE FORMAT

Most SHELX-76 type files (possibly edited with TITL, CELL, LATT,

SYMM information will be acceptable as well. In any case the atomic

parameters should be preceded with an FVAR card since this triggers

the program to expect SHELX format input. An END card on a SHELX

file will be ignored. Possibly some simple file editing may be

necessary.

ANGSTROM DATA FORMAT

Files with just positional parameters, not preceded by CELL and

symmetry cards are understood to be angstrom data in a carthesian

system. Coordinate data may be preceded by an ANGSTROM card with

optionally a multiplication factor to transform the data to

angstrom units. This can be convenient when data originate from

quantumchemistry programs. Scaling the data to Angstrom scale will

be necessary to obtain connected sets with a PLOT instruction.

ATOM cards may be as: C1 1.123 1.456 1.789

CIF-DATA FORMAT

A restricted format CIF-DATA file (such as produced by SHELXL-92)

is acceptable.

APPENDIX - III  : SPACE GROUP SYMMETRY

Space group symmetry is handled in PLUTON with a general space

group symmetry management routine that permits the specification of

the symmetry either explicitly in terms of the general equivalent

positions as presented in the International Tables or implicitly in

terms of space group generators. The generators for all space

groups in their standard setting and some commonly used non-

standard settings are also implicitly retrievable by the program

from internal tables (see tables below) on the basis of the

specified name of the space group (e.g. R-3m)

EXAMPLE: The symmetry for space group nr. 19 (P212121) may be

specified either as:

LATT P A

SYMM X,Y,Z

SYMM 1/2 + X, 1/2 - Y, -Z

SYMM -X, 1/2 + Y, 1/2 - Z

SYMM 1/2 - X, - Y, 1/2 + Z

or

LATT P A

SYMM 1/2 + X, 1/2 - Y, -Z

SYMM -X, 1/2 + Y, 1/2 - Z

or

SPGR P212121

or

SPGR P21 21 21

A LATT card should precede any SYMM card in order that the symmetry

arrays are initialized to either, by default, a primitive non-

centrosymmetric lattice or to the specified lattice type:

(P/A/B/C/I/F/R) and (A)Centric type (A/C).

The general equivalent positions should be given as specified in

International Tables and should have the centre of symmetry at the

origin, in the case that the space group is centrosymmetric. The

symmetry operation SYMM X,Y,Z is always implicitly assumed as the

first symmetry operation and needs not be given although any

redundancy in the symmetry input will be ignored.

Note: Rhombohedral lattice types (in hexagonal setting) can be

specified in two ways: Thus space group R3 may be generated with:

LATT P A

SYMM -Y, X-Y, Z

SYMM 1/3+X, 2/3+Y, 2/3+Z

or

LATT R A

SYMM -Y, X-Y, Z

The same space group on rhombohedral axes should be specified as

R3r.

or

LATT P A

SYMM Y,Z,X

The translation part may be specified either as a ratio or as a

real (e.g. 1/4 or 0.25).

Monoclinic-b is taken as the standard setting for monoclinic space

groups. Other settings are to be specified by the full space group

name: e.g. P112 for the monoclinic-c setting of P2.

Non-standard orthorhombic settings such as space group  A2aa may be

handled by specifying  Ccc2.-cba on the SPGR card (see

International Tables Vol A). In fact the program automatically

modifies the input line accordingly for non-standard settings (see

table below). The standard setting symmetry is than transformed

accordingly.

Note: Symmetry may also be presented in the SHELX-76 style. However

a LATT card should always be supplied since the default symmetry of

PLUTON is always P1 whereas SHELX defaults to P-1.

For compatibality reasons with other programs, a space group name

such as P41212 may also be specified as P 41 21 2.

The names of the space groups known to the program are given in the

following table and are in accordance with the usage in the

CAMBRIDGE CRYSTALLOGRAPHIC DATA BASE files.

APPENDIX - IV  : THE GRAPHICS PACKAGE

The graphics drivers provide for three types of output:

DISPLAY - Interactive graphics output on the display.

PLOTTER - Interactive graphics output on the plotter.

META    - A meta-graphics file with graphics instructions

for later use.

Note: The on-line PLOTTER facility is only useful on terminal lines

with an eaves-dropped PLOTTER

The type of graphics output is managed by the user with

instructions of the type: PLOTTER ON to open the eaves dropped

graphics output channel to the plotter; DISPLAY ON to (re)open the

graphics channel to the display; META ON to generate a graphics

file. Both the META and either PLOTTER or DISPLAY may be open but

not all three. PLOTTER and DISPLAY are mutually exclusive.

The graphics interface package is implementation dependent i.e.

different for the PC and non-PC implementations. Some details

pertinent to the implementation that is used is available though

the instruction HELP GRAPHICS.

The PC-package supports various display adapters, including CGA,

EGA, MCGA, PGA, VGA, SuperVGA, Hercules, and HP-GL plotters (either

on-line or off-line). The off-line code is easily transferred in

text processors that can accommodate graphics. A file named

CONFIG.PLT stores the choosen configuration parameters, so that

configuration parameters need not be specified at each startup of

the program.

The non-PC version supports Hewlett-Packard and Tektronix displays,

VAX-workstations, HP plotters or HP-GL and Tektronix compatible

laser printers.

Non-PC Graphics:

The kind of code that may be generated for the various media is:

DISPLAY : TEK4010 (default), HP2648A, VAX-workstation,

TEK4100, REGIS

PLOTTER : HP7221A (default) or HP-GL

META    : TEK4014 (default), HPGL, HPXL, PS

Type to change the currently generated display code:

SET DISPLAY TEK4010 or SET DISPLAY HP

and to change the currently generated plotter code:

SET PLOTTER HP7221 or SET PLOTTER HPGL

Default plotter format is A4(vertical); other available

formats are: 3 = A3(horizontal), -3 = A3(vertical),

4 = A4(vertical) and -4 = A4(horizontal). E.g. to change

the default setting to A3 type: SET PLOTTER FORMAT 3.