#*************************************************************************

# check.def contains the tests, error thresholds and warning messages

#    issued by the program PLATON when run in the 'VALIDATION' mode

#

#           This file is read when PLATON is called with the '-u' switch

#                    (e.g. 'platon -u sk1500.cif')

#

# - Test output will be in the order as defined implicitly below

#

# - Tests are identified with three-digit numbers

#   _0xx - general

#   _1xx - cell/symmetry

#   _2xx - adp-related

#   _3xx - intra geometry

#   _4xx - inter geometry

#   _5xx - coordination geometry

#   _6xx - void tests

#   _7xx - varia

#   _8xx - Fatal Errors

#

# - All tests are defined as two line stanzas

#   The first line gives the test-number and thresholds (A4, 3A5)

#      E.g. _klm crit_1 crit_2 crit_3

#   The second line defines the message (A55).

#      E.g. 'Structure contains solvent accessible Voids of $F A**3'

#

#   $I defines where (optionally) an 'integer' threshold/value will be placed

#   $F defines where (optionally) a 'real' threshold/value will be placed

#   $A defines where an atom label is inserted (first)

#   $B defines where an atom label is inserted (second)

#   $X defines where bond,angle,torsion (calculated)is inserted

#   $Y defines where bond,angle,torsion (reported)is inserted

#

# Tests (value > crit) are done from right to left (ie crit_3 crit_2 crit_1)

#

# NOTE: The list below is incomplete. Some criteria somewhat arbitrary as yet

# NOTE: Validation runs invoked with the '-u' option will provide more textual

#       information and HELP on the reported ALERTS.

#***************************************************************************

# >>> Definition of Notification Levels (3A8)

_000

ALERT C ALERT B ALERT A

#---------------------------------------------------------------------------

# >>> Listing header on file *.chk (Pseudo Request)

_001

# PLATON/CHECK-(------) versus check.def version of 290402

#---------------------------------------------------------------------------

# >>> Report Cell Data (Pseudo Request)

_002

# CELL

#---------------------------------------------------------------------------

# >>> Report Space Group  (Pseudo Request)

_003

# SpaceGroup

#---------------------------------------------------------------------------

# >>> Report Moiety Formula (Pseudo Request)

_004

# MoietyFormula

#---------------------------------------------------------------------------

# >>> Report Sum Formula (Pseudo Request)

_005

# SumFormula

#---------------------------------------------------------------------------

# >>> Report MW

_006

# MW

#---------------------------------------------------------------------------

# >>> Report Density

_007

# Dx

#---------------------------------------------------------------------------

# >>> Report Z (Pseudo Request)

_008

# Z

#---------------------------------------------------------------------------

#1>>> Report Mu (Pseudo Request)

_009

# Mu

#---------------------------------------------------------------------------

#1>>> Report F000 (Pseudo Request)

_010

# F000

#---------------------------------------------------------------------------

#1>>> Report Transmission (Pseudo Request)

_011

# T

#---------------------------------------------------------------------------

#1 >>> Report Estimated Transmission (Pseudo Request)

_012

# T

#---------------------------------------------------------------------------

#1>>> Report Hmax,Kmax,Lmax, Theta(max), N(obs), (Pseudo Request)

_013

# THM

#---------------------------------------------------------------------------

#1>>> Report Hmax,Kmax,Lmax, N(calc), Ratio (Pseudo Request)

_014

# THM

#---------------------------------------------------------------------------

#1>>> Report Refinement results

_015

# R

#---------------------------------------------------------------------------

#1>>> Check R(int)

_020 0.10 0.15 0.20

Large R(int) ................................. $F

R(int) should be well below 10% and in the order of magnitude of

the reported R-values. R(int) may be relatively meaningless when

based on a very limited number of averaged data.

#---------------------------------------------------------------------------

# >>> Check Expected number of Reflections (Max = 1 Centro, 2 - non-centro)

_021 0.01 0.05 1.00

Ratio Unique / Expected Reflections too High . $F

The expected number of reflections corresponds to that in the asymmmetric

unit of the Laue group. Expected ratio: less-or-equal 1 for centro symmetric

structures and less than 2 for non-centrosymmetric structures.

Reasons to exceed those numbers can be:

1 - Systematic extinctions not omitted from the obsd data count.

2 - Refinement with redundant (i.e. not averaged/unique) data set.

#---------------------------------------------------------------------------

# >>> Check Expected number of Reflections

_022 0.05 0.10 0.15

Ratio Unique / Expected Reflections too Low .. $F

Test for data completeness. The ratio of the reported number of

unique reflections and expected for the resolution given.

#---------------------------------------------------------------------------

# >>> Check Theta-Max

_023 .010 .025 0.05

Resolution (too) Low [sin(th)/Lambda < 0.6]... $F Deg.

Check resolution of the data set. Alert is issued when sin(theta)/lambda < 0.6

#---------------------------------------------------------------------------

# >>> Check for required Friedel pair averaging Z<=Si

_024    0    2    2

Merging of Friedel Data preferred for Z<=Si ..          !

Averaging of Friedel pairs is preferred for MoKa datasets containing atoms

not heavier than Si. Use MERG 4 for SHELXL97 refinements.

#---------------------------------------------------------------------------

# >>> Check for Hmin..Lmax

_025 .000 .000 0.00

Hmin..Lmax data incomplete or missing ........          ?

Check reported h,k,l - range with calculated range based on reported theta-max.

#---------------------------------------------------------------------------

# >>> Check for weak data

_026   50   60   70

Ratio Observed / Unique Reflections too Low .. $I Perc.

Check whether a sufficient fraction of the unique data is indeed above the

2 sigma level.

#---------------------------------------------------------------------------

# >>> Check _diffrn_reflns_theta_full

_027 .050 .100 0.20

-diffrn-reflns-theta-full too low ............ $F Deg.

Ideally, the dataset should be essentially complete, as defined by

-diffrn-measured-fraction-theta-full (close to 1.0), up to

sin(theta)/lambda = 0.6 (i.e. 25 degrees MoKa).

#---------------------------------------------------------------------------

# >>> Check _diffrn_measured_fraction_theta_max

_028 .010 .025 0.05

-diffrn-measured-fraction-theta-max  low ..... $F

Ideally, this value, corresponding to theta-max, should be close to 1.0.

#---------------------------------------------------------------------------

# >>> Check _diffrn_measured_fraction_theta_full

_029 0.05 0.10 0.15

-diffrn-measured-fraction-theta-full low ..... $F

Ideally, this fraction should be close to 1.0 for theta-full greater on equal

to 25 degrees for MoKa radiation (sin(theta/lambda) = 0.6).

#---------------------------------------------------------------------------

# >>> Check _diffrn_reflns_number > reflns_number_total

_030    0    2    2

diffrn-reflns-number .LE. reflns-number-total.          ?

In general, the number of measured reflections will exceed the number of

unique reflections.

#---------------------------------------------------------------------------

# >>> Check need for Extinction Correction Parameter

_031  0.3  0.4  1.0

Refined Extinction parameter within range .... $F Sigma

This test checks whether a refined extinction parameter is meaningful

i.e. whether its value is significantly larger than its corresponding s.u.

If not, this parameter should be removed from the model and the structure

refined without this meaningless additional  parameter.

The current default gives a warning when it value is within 3.33 s.u.

#---------------------------------------------------------------------------

# >>> Check su Flack Parameter

_032  0.2 10.0 10.0

Std Uncertainty in Flack parameter too high .. $F

Check validity of absolute structure determination.

Please refer to Flack,H.D. & Bernardinelli, G. (1999) Acta Cryst. A55,

908-915 and (2000) J. Appl. Cryst., 33, 1143-1148.

#---------------------------------------------------------------------------

# >>> Check Flack Parameter value

_033  0.3 10.0 10.0

Flack Parameter value deviates from zero ..... $F

Check validity of absolute structure determination.

Please refer to Flack,H.D. & Bernardinelli, G. (1999) Acta Cryst. A55,

908-915 and (2000) J. Appl. Cryst., 33, 1143-1148.

#---------------------------------------------------------------------------

# >>> Check for Flack parameter value specified Z>Si, non-centro

_034    0    2    2

No Flack Parameter Given. Z .GT. Si, NonCentro          ?

No Flack parameter value given for non-centrosymmetric structure with

heaviest atom Z > Si. This might be intensional.

#---------------------------------------------------------------------------

# >>> Check for _chemical_absolute_configuration

_035    0    0    2

No -chemical-absolute-configuration info given          ?

Options are 'rm', 'ad', 'rmad', 'syn', 'unk' or '.'

#---------------------------------------------------------------------------

# >>> Check _diffrn_reflns_theta_full

_037    0    0    2

-diffrn-reflns-theta-full ...........not given          ?

No information is given on the theta value for which the dataset is

complete subject to the percentage given with the dataname

-diffrn-measured-fraction-theta-full.

#---------------------------------------------------------------------------

# >>> Check _diffrn_measured_fraction_theta_max

_038    0    0    2

-diffrn-measured-fraction-theta-max  not given          ?

This fraction should be specified in combination with the theta value

given with the dataname -diffrn-reflns-theta-full.

#---------------------------------------------------------------------------

# >>> Check _diffrn_measured_fraction_theta_full

_039    0    0    2

-diffrn-measured-fraction-theta-full not given          ?

This fraction should be specified in combination with the value for theta-max.

#---------------------------------------------------------------------------

# >>> Test for H-atoms [0,1]

_040  0.0 99.0 99.0

No H-atoms in this Carbon containing compound           ?

Alert for 'no H-atoms' in CIF. This is unusual for carbon containing compounds.

#---------------------------------------------------------------------------

# >>> Test SumFormula

_041  0.0 99.0 99.0

Calc. and Rep. SumFormula Strings    Differ ..          ?

In the ideal situation, both SumFormula strings should be identical. If not,

the reason for the difference should be clear. Examples are cases where

populations do not add up to integer numbers.

Note: Alerts _041, _042 & _045 can likely be ignored when they differ by

the same factor.

#---------------------------------------------------------------------------

# >>> Test MoietyFormula

_042  0.0 99.0 99.0

Calc. and Rep. MoietyFormula Strings Differ ..          ?

In the ideal situation, both strings should be identical. If not, the reason

should be clear. Examples are cases where there is no separating space

between two element names or cases where populations do not add up to

integer numbers or when moieties are separated by '.' instead of ','.

Example: NO3 should be given as N O3

Note: Alerts _041, _042 & _045 can likely be ignored when they differ by

the same factor.

#---------------------------------------------------------------------------

#1>>> Test for MolWeight

_043  1.0  5.0 10.0

Check Reported Molecular Weight .............. $F

Note: atomic weights used in the calculation of the molecular weight are

taken from Inorg. Chim. Acta 217 (1994) 217-218 which deviate in a few cases

slightly from the older values used in SHELXL97-2.

#---------------------------------------------------------------------------

#1>>> Check Reported with calculated density

_044  1.0  5.0 10.0

Calculated and Reported Dx Differ ............          ?

In the ideal situation, both data items should be the same within a small

tolerance. If not, the reason should be clear.

#---------------------------------------------------------------------------

#1>>> Check Reported and Calculated Z

_045  0.0  1.0  1.0

Calculated and Reported Z differ by .......... $F Ratio

In the ideal situation, both data items (Z(calc) & Z(reported)) should be

the same. If not, the reason for the difference should be clear. An example

is the situation where PLATON gives Z = 1 when the program cannot work out

a proper Z.

Note: Alerts _041, _042 & _045 can likely be ignored when they differ by

the same factor.

#---------------------------------------------------------------------------

#1>>> Check Reported Density with calculated density from Z*MW

_046  1.0  5.0 10.0

Reported Z, MW and D(calc) are inconsistent .. $F

D(calc) as calculated from the reported Z and MW is compared for consistency

with the reported d(calc).

#---------------------------------------------------------------------------

#1>>> Test SumFormula Given

_047  0.0  0.0  0.0

SumFormula not Given .........................          ?

The Sumformula, corresponding with the Moietyformula, should be given.

#---------------------------------------------------------------------------

#1>>> Test MoietyFormula Given

_048  0.0 99.0 99.0

MoietyFormula not Given ......................          ?

The Moietyformula should be given in the CIF.

#---------------------------------------------------------------------------

# >>> Test for mu given [0,1]

_050  0.0  0.0  0.0

absorption coefficient mu missing ............          ?

The linear absorption coefficient corresponding to the Sumformula should be

given.

#---------------------------------------------------------------------------

# >>> Test for difference mu(cif) with mu(calc) [%]

_051    1    5   10

Mu(calc) and Mu(CIF) ratio differs from 1.0 by $F Perc.

In the ideal situation, both data items should be the same within a small

tolerance. If not, the reason should be clear.

#---------------------------------------------------------------------------

# >>> Test for specification absorption correction method [0,1]

_052  0.0  0.0  0.0

(proper) absorption correction method missing           ?

The treatment/method of absorption(correction) should be given explicitly.

#---------------------------------------------------------------------------

# >>> Test for specification xtal_dimension_min [0,1]

_053  0.0  0.0  0.0

Minimum crystal dimension missing ............          ?

The smallest crystal dimension should be supplied in the CIF.

#---------------------------------------------------------------------------

# >>> Test for specification xtal_dimension_mid [0,1]

_054  0.0  0.0  0.0

Medium  crystal dimension missing ............          ?

The medium crystal dimension should be supplied in the CIF.

#---------------------------------------------------------------------------

# >>> Test for specification xtal_dimension_max [0,1]

_055  0.0  0.0  0.0

Maximum crystal dimension missing ............          ?

The largest crystal dimension should be supplied in the CIF.

#---------------------------------------------------------------------------

# >>> Test for specification xtal_radius [0,1]

_056  0.0  0.0  0.0

Crystal radius missing .......................          ?

#---------------------------------------------------------------------------

# >>> Test for correction for absorption needed

_057  1.1  1.2  1.3

Correction for absorption required   RT(exp) = $F

Correction for absorption is likely to be needed.

#---------------------------------------------------------------------------

# >>> Test for specification Tmax [0,1]

_058  0.5  0.5  0.5

Maximum transmission factor missing ..........          ?

The Maximum transmission factor should be specified in case a correction

for absorption was done. This is NOT the value that is calculated

automatically with SHELXL when a SIZE instruction is given in the SHELXL

instruction file.

#---------------------------------------------------------------------------

# >>> Test for specification Tmin [0,1]

_059  0.5  0.5  0.5

Minimum transmission factor missing ..........          ?

The Minimum transmission factor should be specified in case a correction

for absorption was done. This is NOT the value that is calculated

automatically with SHELXL when a SIZE instruction is given in the SHELXL

instruction file.

#---------------------------------------------------------------------------

# >>> RR Test

_060 1.10 1.50 2.00

Ratio Tmax/Tmin (Exp-to-Rep) (too) large ..... $F

see IUCR WEB-Pages

#---------------------------------------------------------------------------

# >>> RR' Test

_061 0.10 0.25 0.50

Tmax/Tmin Range Test RR' too large ........... $F

see IUCR WEB-Pages

#---------------------------------------------------------------------------

# >>> Rescale Tmin & Tmax

_062    0    2    2

Rescale T(min) & T(max) by ................... $F

see IUCR WEB-Pages

#---------------------------------------------------------------------------

# >>> Test for Crystal Size

_063  0.6  0.8  1.0

Crystal Probably too Large for Beam Size ..... $F mm

Alert for crystals with at least one dimension probably too large for the

homogeneous part of the Xray beam when used for datacollection using crystal

monochromated radiation. An exception will be datacollection using a

beta-filter and a sufficiently large collimator.

#---------------------------------------------------------------------------

# >>> Test for T(max) .GE. T(min)

_064

Reported T(min) is greater than Reported T(max)         ?

The order of Tmin and Tmax values are likely to be interchanged.

#---------------------------------------------------------------------------

# >>> Test for applicability of (semi-)empirical abs.corr. [0,1]

_065  3.0  3.0  3.0

Crystal requires numerical correction mu*tmid= $F

See IUCr WEB-Pages

#---------------------------------------------------------------------------

# >>> Test whether Predicted and Reported Transmission Ranges are Identical

_066  0.0  2.0  2.0

Predicted and Reported Transmissions Identical          ?

The predicted and reported transmission ranges are found to be identical

which is not to be expected. CIF's generated with SHELXL97 report

transmission ranges based on the crystal dimensions supplied on the

SIZE card. Those values have nothing to do with the actual corrections

for absorption as applied to the data.

#---------------------------------------------------------------------------

# >>> Insure that minimum dimension less max dimension

_067  0.0  0.0  0.0

Maximum dimension less min. Xtal Dimension ...          ?

Minimum an Maximum dimensions are likely exchanged in the CIF.

#---------------------------------------------------------------------------

# >>> Test for F000 Calc/Reported difference

_068  0.0 10.0 10.0

Reported F000 Differs from Calcd (or Missing).          ?

In the ideal situation, both data items should be the same. If not, the

reason should be clear.

#---------------------------------------------------------------------------

# >>> Test for duplicate labels

_070  0.5 10.0 10.0

Duplicate or Troublesome Atomic Label on input       $A

The CIF contains duplicate labels posing problems for PLATON/CHECK.

#---------------------------------------------------------------------------

# >>> Test for uninterpretable labels

_071    0    0    0

Uninterpretable Atom Label on Input ..........       $A

The CIF contains labels posing problems for PLATON/CHECK.

Example: label HN1 with no scattering type information supplied.

Validation is aborted.

#---------------------------------------------------------------------------

# >>> Test maximum shift/error

_080 0.05 0.10 0.20

Maximum shift/error .......................... $F

Convergence of the refinement is proven with a close to zero shift/error

value for all refined parameters. Such a convergence is easily achieved

at little cost.

#---------------------------------------------------------------------------

# >>> Test for  maximum shift/error given

_081 0.00 0.00 0.00

No Maximum shift/error given .................          ?

A maximum shift/error should be specified in order to judge convergence.

#---------------------------------------------------------------------------

# >>> Test for reasonable R1

_082 0.10 0.15 0.20

High R1 value ................................ $F

A higher than usual R1 indicates either an insufficient model or poor

quality data.

#---------------------------------------------------------------------------

# >>> Test for reasonable wR2

_084 0.25 0.35 0.45

High R2 value ................................ $F

R2 will in general have a value twice of that of R1 with refinement on F**2.

Significantly larger values usually indicate a poor refinement model.

#---------------------------------------------------------------------------

# >>> Test for reasonable S  (Too Low)

_086  0.4  0.6  0.8

Unsatisfactory S value (Too Low or not given)  $F

S should in general be close to 1 at the end of a refinement with a proper

weighting scheme. If not, there might be significant unresolved problems

with the model.

#---------------------------------------------------------------------------

# >>> Test for reasonable S (Too High)

_087  2.0  4.0  6.0

Unsatisfactory S value (Too High) ............ $F

S should in general be close to 1 at the end of a refinement with a proper

weighting scheme. If not, there might be significant unresolved problems

with the model.

#---------------------------------------------------------------------------

# >>> Test for reasonable Data / parameter ratio  (centro)

_088   10   10   10

Poor Data / Parameter ratio .................. $F

The data/parameter ratio should in general be higher than 10 for a quality

structure determination. The ratio can be improved by not refining

C-H parameters other than riding on their carrier atom.

#---------------------------------------------------------------------------

# >>> Test for reasonable Data / parameter ratio  (non-centro)

_089 10.0 12.5 20.0

Poor Data / Parameter ratio .................. $F

The data/parameter ratio should in general be higher than 10 for a

quality structure determination. The ratio can be improved by not

refining C-H parameters other than riding on their carrier atom.

#---------------------------------------------------------------------------

# >>> Test for 'No-wavelength given'

_091    0    0    0

No Wavelength found in CIF....................          ?

No Wavelength found in CIF.

#---------------------------------------------------------------------------

# >>> Test for wavelength type [Cu,Mo,Ag]     [0,1]

_092    0   10   10

Wavelength given is not Cu,Mo or Ag Ka ....... $F Ang.

Warning: specified wavelength is not Cu,Mo or Ag Ka radiation.

#---------------------------------------------------------------------------

# >>> Test for maximum/minimum residual density ratio

_094  2.0  4.0  8.0

Ratio of maximum / minimum residual density .. $F

The ratio of the maximum and minimum residual density excursions is

unusual. This might indicate unaccounted for twinning or missing atoms

(e.g. associated with disordered solvent).

#---------------------------------------------------------------------------

# >>> Test for residual density maximum given [0,1]

_095    0    0    0

No residual density maximum given ............          ?

No residual electron density maximum given in CIF.

#---------------------------------------------------------------------------

# >>> Test for residual density minimum given [0,1]

_096    0    0    0

No residual density minimum given.............          ?

No residual electron density minimum given in CIF.

#---------------------------------------------------------------------------

# >>> Test maximum residual density

_097 0.75  1.0  2.0

Maximum (positive) residual density .......... $F e/A**3

Residual density maximum larger than expected. This might be caused by

residual absorption artifacts, unaccounted for twinning, wrongly assigned

atom types and other model errors.

#---------------------------------------------------------------------------

# >>> Test for minimum residual density

_098 0.75  1.0  2.0

Minimum (negative) residual density .......... $F e/A**3

Residual density minimum larger than expected. This might be caused by

residual absorption artifacts, wrongly assigned atom types and other

model errors.

#---------------------------------------------------------------------------

# >>> Test for minimum residual density less zero [0, 1]

_099  0.0  0.0  0.0

Minimum (negative) residual density .GE. 0 !!. $F e/A**3

Likely interchanged maximum and minimum values.

Alternatively, the minimum resididual density has the (unlikely) value

zero.

#===========================================================================

# >>> Test for additional translational symmetry [0, 1]

_110  0.5  999  999

ADDSYM detects potential lattice centering or halving   ?

Tests for missed symmetry are done with an expanded MISSYM (C) clone.

These tests warn for missed or possible higher (pseudo) symmetry in the

structural model (i.e. based on the coordinate data).

Close examination of the situation at hand is indicated in order to

prove/disprove the issue (usually in combination with the reflection data).

Report on potential (pseudo/real) lattice centering or cell halving.

Note: Disordered atoms are not taken into account in the tests.

#---------------------------------------------------------------------------

# >>> Test for additional centre of symmetry [0, 100]

_111   50   50  999

ADDSYM detects (pseudo) centre of symmetry ... $I Perc Fit

Tests for missed symmetry are done with an expanded MISSYM (C) clone.

These tests warn for missed or possible higher (pseudo) symmetry in the

structural model (i.e. based on the coordinate data). Close examination of

the situation at hand is indicated in order to prove/disprove the issue

(usually in combination with the reflection data).

This ALERT reports on a potential additional (pseudo/real) inversion centre.

Note: Disordered atoms are not taken into account in the test.

#---------------------------------------------------------------------------

# >>> Test for additional symmetry [0, 1]

_112  0.5  0.5  999

ADDSYM Detects Additional (Pseudo) Symm. Elem.    $A

Tests for missed symmetry are done with ADDSYM, an expanded MISSYM (C) clone.

These tests warn for missed or possible higher (pseudo) symmetry in the

structural model (i.e. based on the coordinate data). Close examination of

the situation at hand is indicated in order to prove/disprove the issue

(usually in combination with the reflection data).

This ALERT reports on potential additional (pseudo/real) rotation axes and

mirrors.

Note: Disordered atoms are not taken into account in the tests.

#===========================================================================

# >>> Report New spacegroup suggested by ADDSYM

_113   50   50  999

ADDSYM Suggests Possible Pseudo/New Spacegroup       $A

Tests for missed symmetry are done with ADDSYM, an extended MISSYM (C) clone.

These tests warn for missed or possible higher (pseudo) symmetry in the

structural model (i.e. based on the coordinate data). Close examination of

the situation at hand is indicated in order to prove/disprove the issue

(usually in combination with the reflection data).

For an example of reported pseudo-symmetry see I.A.Guzei et al, (2002).

Acta Cryst. C58, m141-m143.

Note: Disordered and hydrogen atoms are not taken into account in the tests.

#===========================================================================

# >>> Test for consistent _symmetry_space_group_name_H-M and Symm Opp

_120    0   10   10

Reported SPGR $A inconsistent with explicit ...      $B

Symmetry in the CIF should be provided in the CIF both explicitly with a

-symmetry-equiv-pos-as-xyz loop and implicitly with

-symmetry-space-group-name-H-M.

Test for consistency of the -symmetry-equiv-pos-as-xyz set with

symmetry-space-group-name-H-M.

#===========================================================================

# >>> Test for valid _symmetry_space_group_name_H-M

_121    0   10   10

Invalid _symmetry_space_group_name_H-M .......       $A

Symmetry in the CIF should be provided in the CIF both explicitly with a

-symmetry-equiv-pos-as-xyz loop and implicitly with

-symmetry-space-group-name-H-M.

Test for valid -symmetry-space-group-name-H-M symbol.

#===========================================================================

# >>> Test for ? _symmetry_space_group_name_H-M

_122    0    0    0

No _symmetry_space_group_name_H-M given ......          ?

Symmetry in the CIF should be provided in the CIF both explicitly with a

-symmetry-equiv-pos-as-xyz loop and implicitly with

-symmetry-space-group-name-H-M.

Test for missing (i.e. ?) -symmetry-space-group-name-H-M symbol.

#===========================================================================

# >>> Test for Interpretable SpaceGroup Symmetry

_123    0    0    0

Uninterpretable or inconsistent SpaceGroup Info         ?

Symmetry in the CIF should be provided in the CIF both explicitly with a

-symmetry-equiv-pos-as-xyz loop and implicitly with

-symmetry-space-group-name-H-M.

Test for uninterpretable or inconsistent Spacegroup information.

#===========================================================================

# >>> Test for _symmetry_equiv_pos_as_xyz present

_124    0    0    0

Uninterpretable or absent _symmetry_equiv_pos_as_xyz    ?

Symmetry in the CIF should be provided in the CIF both explicitly with a

-symmetry-equiv-pos-as-xyz loop and implicitly with

-symmetry-space-group-name-H-M.

Test for uninterpretable or absent explicit symmetry records

#===========================================================================

# >>> Test for ? _symmetry_space_group_name_Hall

_125    0   10   10

No _symmetry_space_group_name_Hall given .....          ?

Optionally specify the Hall symbol. The Hall symbol provides an

unambiguous definition of the space group symmetry where the Hermann-

Mauguin symbol leaves room for alternative choises of the origin.

E.g. for space group P21, the screw axis is in general taken to coincide

with the b-axis. However, sometimes it is choosen to be shifted by 1/4

in the c-axis direction to bring out the relation with P21/c. The Hall

symbols will be 'P 2yb' and 'P 2ybc' respectively.

Refer to: S.R.Hall, Space-Group Notation with an Explicit Origin;

Acta Cryst. (1981), A37, 517-525.

or: http://www.kristall.ethz.ch/LFK/software/sginfo/hall_symbols.html

#===========================================================================

# >>> Test for  _symmetry_space_group_name_Hall error

_126    0   10   10

Error in or uninterpretable Hall Symbol  .....       $A$B

The reported Hall-symbol is found to be in error or uninterpretable.

Refer to: S.R.Hall, Space-Group Notation with an Explicit Origin;

Acta Cryst. (1981), A37, 517-525.

#===========================================================================

# >>> Test for  _symmetry_space_group_name_Hall consistency

_127    0   10   10

Implicit Hall Symbol Inconsistent with Expl...       $A$B

The reported Hall-symbol is found to be inconsistent with the one derived

from the explicit symmetry operations.

Refer to: S.R.Hall, Space-Group Notation with an Explicit Origin;

Acta Cryst. (1981), A37, 517-525.

#===========================================================================

# >>> Test for non-standard monoclinic spacegroup setting

_128    0   10   10

Non-standard setting of space group $A ..       $B

The reported monoclinic space group is in a non-standard setting.

Transformation to the conventional setting is indicated unless there

is a good (scientific) reason not to do so.

#===========================================================================

# >>> Test for unusual non-standard Spacegroup name

_129    0    0    0

Unusual space group specified ................    	  $A

The reported space group name is unusual.

#===========================================================================

# >>> Test for Cubic: a = b = c

_130    0    0    0

Cubic : a, b & c dimensions differ                      ?

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Cubic: alpha = beta = gamma = 90

_131    0    0    0

Cubic : alpha, beta and gamma should be 90 deg exact

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Trigonal/Hexagonal : a = b

_132    0    0    0

Trigonal/Hexagonal a and b differ                       ?

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Trigonal/Hexagonal : alpha = beta = 90

_133    0    0    0

Trigonal/Hexagonal alpha and beta should be 90 deg exact

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Trigonal/Hexagonal : gamma = 120

_134    0    0    0

Trigonal/Hexagonal gamma should be 120 deg exact

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Tetragonal: a = b

_135    0    0    0

Tetragonal: a and b should be equal

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Tetragonal: alpha = beta = gamma = 90

_136    0    0    0

Tetragonal: alpha, beta & gamma should be 90 deg exact

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Orthorhombic: alpha = beta = gamma = 90

_137    0    0    0

Orthorhombic: alpha, beta & gamma should be 90 deg exact

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Monoclinic more than 1 angle off 90 degrees

_138    0    0    0

Monoclinic: More than one angle unequal 90.0 deg exact

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Rhombohedral a = b = c

_139    0    0    0

Rhombohedral: a, b & c are not all equal exactly

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

# >>> Test for Rhombohedral alpha = beta = gamma

_140    0    0    0

Rhombohedral: alpha, beta & gamma are not all equal

Symmetry restrictions on cell dimensions are checked.

#===========================================================================

#1>>> su on a - axis small or missing

_141    0   10   10

su on a - Axis Small or Missing (x 100000) ... $I Ang.

The su on the a-axis is small or missing. The presence of su's (where

required) and value are checked. Su's as given by the diffractometer

software are often much smaller then realistic.

#===========================================================================

#1>>> su on b - axis small or missing

_142    0   10   10

su on b - Axis Small or Missing (x 100000) ... $I Ang.

The su on the b-axis is small or missing. The presence of su's (where

required) and value are checked. Su's as given by the diffractometer

software are often much smaller then realistic.

#===========================================================================

#1>>> su on c - axis small or missing

_143    0   10   10

su on c - Axis Small or Missing (x 100000) ... $I Ang.

The su on the c-axis is small or missing. The presence of su's (where

required) and value are checked. Su's as given by the diffractometer

software are often much smaller then realistic.

#===========================================================================

#1>>> su on alpha small or missing

_144    0   10   10

su on alpha    Small or Missing  (x 10000) ... $I Deg.

The su on alpha is small or missing. The presence of su's (where required)

and value are checked. Su's as given by the diffractometer software are

often much smaller then realistic.

#===========================================================================

#1>>> su on beta  small or missing

_145    0   10   10

su on beta     Small or Missing  (x 10000) ... $I Deg.

The su on beta is small or missing. The presence of su's (where required)

and value are checked. Su's as given by the diffractometer software are

often much smaller then realistic.

#===========================================================================

#1>>> su on gamma small or missing

_146    0   10   10

su on gamma    Small or Missing  (x 10000) ... $I Deg.

The su on gamma is small or missing. The presence of su's (where required)

and value are checked. Su's as given by the diffractometer software are

often much smaller then realistic.

#===========================================================================

# >>> su on symmetry restricted cell angle

_147    0   10   10

su on Symmetry Restricted Cell angle(s) ......          ?

There should be no s.u. on symmetry restricted Cell angles.

#===========================================================================

#1>>> Check Volume

_150  .01  0.1  0.1

Volume as Calculated Differs from that Given = $F Ang-3

An ALERT is issued when the reported unit cell volume differs significantly

from the volume calculated on the basis of the supplied cell dimensions.

#===========================================================================

# >>> Check for esd on Volume

_151    0   10   10

No su (esd) Given on Volume ..................          ?

Missing s.u. on cell volume.

#===========================================================================

# >>> Check for consistency of su on Volume and cell paprameters

_152    0   10   10

Supplied and calc Volume SU inconsistent .....          ?

Some software calculates Volume su's incorrectly. The correct formula

may be found in M. Nardelli, Computer & Chemistry, (1983), 7, 95-98.

#===========================================================================

# >>> Check for reduced cell aP

_155    0   10   10

The Triclinic Unitcell is NOT Reduced ........          ?

Unless for special reasons related to the structure/content, a unitcell and

structure is best reported with reference to the Niggli Reduced Cell.

#===========================================================================

# >>> Check for non-standard axial order

_156    0   10   10

Axial System Input Cell not Standard .........          ?

The axial order should be from small to large in the triclinic cell.

#===========================================================================

# >>> Check for non-standard monoclinic beta angle less 90 Degrees.

_157  0.0  10.  10.

Non-standard Monoclinic Beta Angle less 90 Deg $F Deg.

By convention, the Monoclinic beta angle is always chosen to be larger than

90.0 Degrees. A trivial transformation (1 0 0/0 -1 0/0 0 -1) should be

applied to the data.

#===========================================================================

# >>> Missing x-coordinate su

_161    0   10   10

Missing or Zero su (esd) on x-coordinate for .       $A

Positional parameters for all non-hydrogen atoms in general positions are

checked for the presence of a non-zero s.u. on them. This includes

parameters fixed to fix the origin in polar space groups which is no longer

necessary when refinement is done with modern programs (e.g. SHELXL, XTAL).

Missing or Zero su (esd) on x-coordinate.

#===========================================================================

# >>> Missing y-coordinate su

_162    0   10   10

Missing or Zero su (esd) on y-coordinate for .       $A

Positional parameters for all non-hydrogen atoms in general positions are

checked for the presence of a non-zero s.u. on them. This includes

parameters fixed to fix the origin in polar space groups which is no longer

necessary when refinement is done with modern programs (e.g. SHELXL, XTAL).

Missing or Zero su (esd) on x-coordinate.

#===========================================================================

# >>> Missing z-coordinate su

_163    0   10   10

Missing or Zero su (esd) on z-coordinate for .       $A

Positional parameters for all non-hydrogen atoms in general positions are

checked for the presence of a non-zero s.u. on them. This includes

parameters fixed to fix the origin in polar space groups which is no longer

necessary when refinement is done with modern programs (e.g. SHELXL, XTAL).

Missing or Zero su (esd) on x-coordinate.

#===========================================================================

# >>> Check for Refined C-H H-Atoms

_164    0   10   10

Nr. of Refined C-H H-Atoms in Heavy-At Struct. $I

Refined C-H H-atoms in heavy-atom structure (warning). Such H-atoms are

better refined at calculated positions riding on the atoms they are

attached to.

#===========================================================================

# >>> Check for R-flagged Non-H Atoms

_165    0   10   10

Nr. of Status R Flagged Non-Hydrogen Atoms ... $I

Report on restrained Non-Hydrogen atoms. Note: This may lead to non

meaningfull bond and angle su's (ALERTS 751, 752)

#===========================================================================

# >>> Test for isotropic non-H atoms in main residue(s)

_201    0    0   10

Isotropic non-H Atoms in Main Residue(s)     = $I

This test reports on non-hydrogen atoms that were refined with isotropic

displacement parameters only in the main residue. Such a practice is unusual

by modern standards and only needed for minor disorder modelling.

#---------------------------------------------------------------------------

# >>> Test for isotropic non-H atoms in anion ? or solvent ?

_202    0   50   50

Isotropic non-H Atoms in Anion/Solvent       = $I

This test reports on isotropically refined atoms in small moieties (usually

anions or solvent).

#---------------------------------------------------------------------------

# >>> Test for 'all-isotropic adp(s)

_210    0    0   10

No Anisotropic ADP's found in CIF ............          ?

No anisotropically refined atoms in CIF ?

#---------------------------------------------------------------------------

# >>> Test for NPD ADP's  (1.0) in main residue(s)

_211    0    0  0.5

ADP of atom $B is non-positive-definite .          ?

This test reports on non-positive definite (i.e. complex and unrealistic)

anisotropic displacement parameters in the main residue.

#---------------------------------------------------------------------------

# >>> Test for NPD ADP's in anion? & solvent ? [0, 1]

_212    0  0.5   99

ADP of atom $B is non-pos-definite (anion/solvent) ?

This test reports on non-positive definite (i.e. complex and

unrealistic) anisotropic displacement parameters in the main

residue.

#---------------------------------------------------------------------------

# >>> Test ratio adp max/min in main residue(s)

_213  3.0  4.0  5.0

Atom $A has ADP max/min Ratio ........... $F $B

The maximum and minimum main axis ADP ratio (Angstrom Units) is tested for

the main residue. Large values may indicate unresolved disorder.

#---------------------------------------------------------------------------

# >>> Test ratio adp max/min in anion ? or solvent ?

_214  4.0  5.0  6.0

Atom $A (Anion/Solvent) ADP max/min Ratio $F $B

The maximum and minimum main axis ADP ratio (Angstrom Units) is tested for

the minor residue(s). Large values may indicate unresolved disorder.

#---------------------------------------------------------------------------

# >>> Test for unusual disordered atom adp in main residue

_215  3.0  4.0  5.0

Disordered $B has ADP max/min Ratio ..... $F

The maximum and minimum main axis ADP ratio (Angstrom Units) is tested for

the main residue. Large values may indicate unresolved disorder.

#---------------------------------------------------------------------------

# >>> Test for unusual disordered atom adp in minor residue

_216  5.0  7.0  9.0

Disordered $B (An/Solv) ADP max/min Ratio $F

The maximum and minimum main axis ADP ratio (Angstrom Units) is tested for

the minor residue(s). Large values may indicate unresolved disorder.

#---------------------------------------------------------------------------

# >>> Test Ueq(max)/Ueq(Min) range for non-H atoms

_220  2.5  3.5  4.5

Large Non-Solvent   $AUeq(max)/Ueq(min) . $F Ratio

This test reports on a larger than usual U(eq) range for the specified

element type in the non-solvent/anion part of the structure.

Too high or too low Ueq's may be an indication for incorrectly

identified atomic species (i.e. O versus N).

#---------------------------------------------------------------------------

# >>> Test Ueq(max)/Ueq(Min) range for non-H atoms

_221  3.0  4.0  5.0

Large Solvent/Anion $AUeq(max)/Ueq(min) . $F Ratio

This test reports on a larger than usual U(eq) range for the non-hydrogen

atoms solvent/anion. Too high or too low Ueq's may be an indication for

incorrectly identified atomic species (i.e. Br versus Ag).

#---------------------------------------------------------------------------

# >>> Test Ueq(max)/Ueq(Min) range for H atoms

_222  3.0  4.0  5.0

Large Non-Solvent    H     Ueq(max)/Ueq(min) . $F Ratio

This test reports on a larger than usual range of U(eq) values for hydrogen

atoms in the non-solvent/anion part of the structure.

#---------------------------------------------------------------------------

# >>> Test Ueq(max)/Ueq(Min) range for H atoms

_223  3.0  4.0  5.0

Large Solvent/Anion  H     Ueq(max)/Ueq(min) . $F Ratio

This test reports on large ranges in displacement parameters for hydrogen

atoms in the solvent/anion part of the structure.

#---------------------------------------------------------------------------

# >>> Hirshfeld Rigid-Bond Test (Acta Cryst (1976),A32,239-244

_230  5.0  7.0  9.0

Hirshfeld test diff for    $A-   $B= $F esd(su)

The components of the anisotropic displacement parameters along chemical

bonds are assumed to be equal in magnitude. Large differences supposedly

indicate contamination of these parameters with other (unresolved) effects

such as disorder, model or data errors and/or over refinement. Atomic sites

assigned the wrong scattering type (e.g. Ag versus Br) should generate

'problem signals' with this test. Data sets corrected for absorption effects

with DELREF techniques (e.g. DIFABS, SHELXA, XABS2) often show large DELU

values for bonds involving the heaviest atom.

#---------------------------------------------------------------------------

# >>> Hirshfeld Rigid-Bond Test (Acta Cryst (1976),A32,239-244

_231  7.0  9.0 11.0

Hirshfeld test (solvent)   $A-   $B= $F esd(su)

The components of the anisotropic displacement parameters along chemical

bonds are assumed to be equal in magnitude. Large differences supposedly

indicate contamination of these parameters with other (unresolved) effects

such as disorder, model or data errors and/or over refinement. Atomic sites

assigned the wrong scattering type (e.g. Ag versus Br) should generate

'problem signals' with this test. Data sets corrected for absorption effects

with DELREF techniques (e.g. DIFABS, SHELXA, XABS2) often show large DELU

values for bonds involving the heaviest atom.

#---------------------------------------------------------------------------

# >>> Hirshfeld Rigid-Bond Test (Metal-X) (Acta Cryst (1976),A32,239-244

_232  5.0 10.0 15.0

Hirshfeld test diff (Me-X) $A-   $B= $F esd(su)

The components of the anisotropic displacement parameters along chemical

bonds are assumed to be equal in magnitude. Large differences supposedly

indicate contamination of these parameters with other (unresolved) effects

such as disorder, model or data errors and/or over refinement. Atomic sites

assigned the wrong scattering type (e.g. Ag versus Br) should generate

'problem signals' with this test. Data sets corrected for absorption effects

with DELREF techniques (e.g. DIFABS, SHELXA, XABS2) often show large DELU

values for bonds involving the heaviest atom.

#---------------------------------------------------------------------------

# >>> Hirshfeld Rigid-Bond Test (Metal-X) (Acta Cryst (1976),A32,239-244

_233 10.0 15.0 20.0

Hirshfeld (Me-X solvent)   $A-   $B= $F esd(su)

The components of the anisotropic displacement parameters along chemical

bonds are assumed to be equal in magnitude. Large differences supposedly

indicate contamination of these parameters with other (unresolved) effects

such as disorder, model or data errors and/or over refinement. Atomic sites

assigned the wrong scattering type (e.g. Ag versus Br) should generate

'problem signals' with this test. Data sets corrected for absorption effects

with DELREF techniques (e.g. DIFABS, SHELXA, XABS2) often show large DELU

values for bonds involving the heaviest atom.

#---------------------------------------------------------------------------

# >>> Test for unusually high U(eq) as compared with bonded neighbors

_241 .015 0.03 0.05

Check High U(eq) as Compared to Neighbors ....      $A

The U(eq) value of an atom is compared with the average U(eq) for to

non-hydrogen atoms bonded to it. Large differences may indicate that the

wrong atom type was assigned (e.g. N instead of O).

#---------------------------------------------------------------------------

# >>> Test for unusually low  U(eq) as compared with bonded neighbors

_242 .015 0.03 0.05

Check Low  U(eq) as Compared to Neighbors ....      $A

The U(eq) value of an atom is compared with the average U(eq) for to

non-hydrogen atoms bonded to it. Large differences may indicate that the

wrong atom type was assigned (e.g. N instead of O). False alarms may

occur for terminal groups such as the t-butyl moiety.

#---------------------------------------------------------------------------

# >>> Test for unusually high solvent U(eq) as compared with bonded neighbors

_243 .015 1.00 1.00

High solvent U(eq) as Compared to Neighbors ..      $A

The U(eq) value of an atom is compared with the average U(eq) for to

non-hydrogen atoms bonded to it. Large differences may indicate that the

wrong atom type was assigned (e.g. N instead of O).

#---------------------------------------------------------------------------

# >>> Test for unusually low solvent  U(eq) as compared with bonded neighbors

_244 .015 1.00 1.00

Low Solvent U(eq) as Compared to Neighbors ...      $A

The U(eq) value of an atom is compared with the average U(eq) for to

non-hydrogen atoms bonded to it. Large differences may indicate that the

wrong atom type was assigned (e.g. N instead of O). False alarms may

occur for terminal groups such as the t-butyl moiety.

#===========================================================================

# >>> Test for main residue(s) disorder %

_301    0   25   50

Main Residue Disorder ........................ $F Perc.

Atom sites that are not fully occupied are counted. A large fraction of

disordered atoms may be both a signal for serious structure determination

problems or less reliable/interesting results.

#---------------------------------------------------------------------------

# >>> Test for (anion/solvent) disorder %

_302    0  100  100

Anion/Solvent Disorder ....................... $F Perc.

Atom sites that are not fully occupied are counted. A large fraction of

disordered atoms may be both a signal for serious structure determination

problems or less reliable/interesting results.

#---------------------------------------------------------------------------

# >>> Test for isolated Hydrogen Atoms

_305    0    0    0

Isolated Hydrogen Atom (Outside Bond Range ??)      $A

This test reports on hydrogen atoms that are not on bonding distance to any

atom. This alert may indicate either that the hydrogen atom refined to a

non-bonding position or needs a symmetry operation to bring it.

#---------------------------------------------------------------------------

# >>> Test for isolated Oxygen   Atoms

_306    0    0    0

Isolated Oxygen Atom (H-atoms missing ?) .....      $A

This test reports on oxygen atoms that are not within bonding distance to

any other atom in the structure. A common reason may be that no hydrogen

atoms are given for a water molecule.

#---------------------------------------------------------------------------

# >>> Test for isolated Metal   Atoms

_307    0    0    0

Isolated Metal Atom (Unusual !) ..............      $A

This test reports on metal atoms that are not bonded or at coordination

distance of other atoms. Isolated ions are very unusual (or non-existent ?)

#---------------------------------------------------------------------------

# >>> Test for single bonded Metal Atoms

_308    0    0    0

Single Bonded Metal Atom (Unusual !) .........      $A

This test reports on single boned (coordinated) metal atoms/ions. This

represents a very unusual situation. There are literature examples where such

a 'single bonded metal' was shown to be a halogen.

#---------------------------------------------------------------------------

# >>> Test for single bonded Oxygen Atoms

_309    0   99   99

Single Bonded Oxygen (C-O .GT. 1.3 Ang) ......      $A

Single bonded Oxygen with C-O .GT. 1.3 Angstrom. Missing H-Atom ?

#---------------------------------------------------------------------------

# >>> Test for 'too close' (symmetry related) full weight atoms

_310    0    0    0

$A Deleted (Close to $B)      Dist = $F Ang.

This test identifies (very) short contacts between atoms that only becomes

apparent after the application of symmetry on the primary coordinate set.

#---------------------------------------------------------------------------

# >>> Test for isolated Disordered Oxygen   Atoms

_311    0   10   10

Isolated Disordered Oxygen Atom (No H's ?) ...      $A

This test reports on oxygen atoms (not full weight) that are not within

bonding distance to any other atom in the structure.

A common reason may be that no hydrogen atoms are given for a water molecule.

#---------------------------------------------------------------------------

# >>> Test for C=O-H

_312    0   99   99

Strange C-O-H Geometry (C-O .LT. 1.2 Ang) ....      $A

Strange C-O-H geometry with C-O .LT. 1.2 Angstrom detected. Misplaced

H-Atom ?

#---------------------------------------------------------------------------

# >>> Hybridisation Problem on C in main residue(s)

_320    0   99   99

Check Hybridisation of $A in main residue          ?

The test attempts to assign one of three hybridisations to C atoms in main

residue: sp, sp2 or sp3 on the basis of the angles around C. In this way,

missing H atoms or too many H-atoms on a carbon atom should be detected.

#---------------------------------------------------------------------------

# >>> Hybridisation Problem on C in solvent/ion

_321    0   99   99

Check Hybridisation of $A in solvent/ion           ?

The test attempts to assign one of three hybridisations to C atoms in

solven/anion: sp, sp2 or sp3 on the basis of the angles around C. In this

way missing H atoms or too many H-atoms on a carbon atom should be detected.

#---------------------------------------------------------------------------

# >>> Hybridisation Problem on non-C in main residue(s)

_322    0   99   99

Check Hybridisation of $A in main residue          ?

The test attempts to assign one of three hybridisations to a non-C atom in

the main residue: sp, sp2 or sp3 on the basis of the angles around the

non-C atom. In this way, missing H atoms or too many H-atoms should be

detected.

#---------------------------------------------------------------------------

# >>> Hybridisation Problem on non-C in solvent/ion

_323    0   99   99

Check Hybridisation of $A in solvent/ion           ?

The test attempts to assign one of three hybridisations to a non-C atom in

the solvent/anion: sp, sp2 or sp3 on the basis of the angles around the

non-C atom. In this way, missing H atoms or too many H-atoms should be

detected.

#---------------------------------------------------------------------------

# >>> Check for possibly missing H on coordinating X-N-X in main residue

_324    0   99   99

Check for possibly missing H on Coordinating..      $A

Check for possibly missing Hydrogen atom on Nitrogen coordinating to

a metal in the main residue.

#---------------------------------------------------------------------------

# >>> Check for possibly missing H on coordinating X-N-X in main residue

_325    0   99   99

Check for possibly missing H on Coordinating..      $A

Check for possibly missing Hydrogen atom on Nitrogen coordinating to

a metal in the solvent/anion.

#---------------------------------------------------------------------------

# >>> Check Average Phenyl C-C

_330 0.01 0.02 0.03

Large Av. Phenyl C-C Dist. $A-   $B= $F Ang.

The standard average C-C in a phenyl ring is 1.395 Angstrom.

The average ring distance may be larger than expected due to systematic

errors in the cell dimensions.

#---------------------------------------------------------------------------

# >>> Check Average Phenyl C-C

_331 0.02 0.03 0.04

Small Av. Phenyl C-C Dist. $A-   $B= $F Ang.

The standard average C-C in a phenyl ring is 1.395 Angstrom.

The average ring distance may be smaller due to large thermal motion or

incorrect cell dimensions.

#---------------------------------------------------------------------------

# >>> Check Phenyl C-C Range#

_332 0.15 0.25 0.35

Large Phenyl C-C Range     $A-   $B= $F Ang.

The standard average C-C in a phenyl ring is 1.395 Angstrom.

#---------------------------------------------------------------------------

# >>> Check Bond Precision for C-C in Light Atom Structures (Z(max) < 20)

_340    4   10   50

Low Bond Precision on C-C bonds (x 1000) Ang.. $I

The average su for X-Y bonds is tested (named bond-precision). X-Y will

generally be C-C bonds, unless there are none. In the last case the su's of

the lowest element numbers are considered (excluding hydrogen). There are

three test ranges: one for structures with the largest element Z < 20, one

for the largest Z in the range 20 to 39 and one for structures with Z(max) 40

or higher (_340, _341 and _342 respectively)

#---------------------------------------------------------------------------

# >>> Check Bond Precision for C-C in Structures (19 < Z(max) < 40)

_341    6   15   75

Low Bond Precision on C-C bonds (x 1000) Ang.. $I

The average su for X-Y bonds is tested (named bond-precision). X-Y will

generally be C-C bonds, unless there are none. In the last case the su's of

the lowest element numbers are considered (excluding hydrogen). There are

three test ranges: one for structures with the largest element Z < 20, one

for the largest Z in the range 20 to 39 and one for structures with Z(max) 40

or higher (_340, _341 and _342 respectively)

#---------------------------------------------------------------------------

# >>> Check Bond Precision for C-C in Structures (Z(max) > 39)

_342    8   20  100

Low Bond Precision on C-C bonds (x 1000) Ang.. $I

The average su for X-Y bonds is tested (named bond-precision). X-Y will

generally be C-C bonds, unless there are none. In the last case the su's of

the lowest element numbers are considered (excluding hydrogen). There are

three test ranges: one for structures with the largest element Z < 20, one

for the largest Z in the range 20 to 39 and one for structures with Z(max) 40

or higher (_340, _341 and _342 respectively)

#---------------------------------------------------------------------------

# >>> Test for short C - H (Angstrom Difference) XRAY: 0.96

_350 0.11  0.2  0.3

Short C-H Bond (0.96A)    $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default C-H = 0.96 Ang. (X-Ray) value from SHELXL.

#---------------------------------------------------------------------------

# >>> Test for long  C - H (Angstrom Difference) XRAY: 0.96

_351 0.14  0.2  0.3

Long  C-H Bond (0.96A)    $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default C-H = 0.96 Ang. (X-Ray) value from SHELXL.

#---------------------------------------------------------------------------

# >>> Test for short N - H (Angstrom Difference) XRAY: 0.87

_352  0.1  0.2  0.3

Short N-H Bond (0.87A)    $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default N-H = 0.87 Ang. (X-Ray) value from SHELXL.

#---------------------------------------------------------------------------

# >>> Test for long  N - H (Angstrom Difference) XRAY: 0.87

_353 0.13  0.2  0.3

Long  N-H Bond (0.87A)    $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default N-H = 0.87 Ang. (X-Ray) value from SHELXL.

#---------------------------------------------------------------------------

# >>> Test for short O - H (Angstrom Difference) XRAY: 0.82

_354  0.1  0.2  0.3

Short O-H Bond (0.82A)    $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default O-H = 0.82 Ang. (X-Ray) value from SHELXL.

#---------------------------------------------------------------------------

# >>> Test for long  O - H (Angstrom Difference) XRAY: 0.82

_355 0.18 0.25  0.3

Long  O-H Bond (0.82A)    $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default O-H = 0.82 Ang. (X-Ray) value from SHELXL.

#---------------------------------------------------------------------------

# >>> Test for short C4 - C4 (Angstrom Difference) XRAY: 1.54

_360  0.1  0.2  0.3

Short  C(sp3)-C(sp3) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C4-C4 = 1.54 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C4 - C4 (Angstrom Difference) XRAY: 1.54

_361 0.1  0.2  0.3

Long   C(sp3)-C(sp3) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C4-C4 = 1.54 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for short C4 - C3 (Angstrom Difference) XRAY: 1.52

_362  0.1  0.2  0.3

Short  C(sp3)-C(sp2) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C4-C3 = 1.52 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C4 - C3 (Angstrom Difference) XRAY: 1.52

_363 0.1  0.2  0.3

Long   C(sp3)-C(sp2) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C4-C3 = 1.52 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for short C4 - C2 (Angstrom Difference) XRAY: 1.46

_364  0.1  0.2  0.3

Short  C(sp3)-C(sp)  Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C4-C2 = 1.46 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C4 - C2 (Angstrom Difference) XRAY: 1.46

_365 0.1  0.2  0.3

Long   C(sp3)-C(sp)  Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C4-C2 = 1.46 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for short C? - C? (Angstrom Difference) XRAY: 1.50

_366  0.1  0.2  0.3

Short? C(sp?)-C(sp?) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C?-C? = 1.50 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C? - C? (Angstrom Difference) XRAY: 1.50

_367 0.1  0.2  0.3

Long?  C(sp?)-C(sp?) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C?-C? = 1.50 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for short C3 - C3 (Angstrom Difference) XRAY: 1.34

_368  0.1  0.2  0.3

Short  C(sp2)-C(sp2) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C3-C3 = 1.34 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C3 - C3 (Angstrom Difference) XRAY: 1.34

_369 0.18 0.22 0.3

Long   C(sp2)-C(sp2) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc.  Default C3-C3 = 1.34 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for short C3 - C2 (Angstrom Difference) XRAY: 1.31

_370  0.1  0.2  0.3

Short  C(sp2)-C(sp1) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C3-C2 = 1.31 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C3 - C2 (Angstrom Difference) XRAY: 1.31

_371 0.1  0.2  0.3

Long   C(sp2)-C(sp1) Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C3-C2 = 1.31 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for short C2 - C2 (Angstrom Difference) XRAY: 1.25

_372  0.1  0.2  0.3

Short  C(sp)-C(sp)   Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C2-C2 = 1.25 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for long  C2 - C2 (Angstrom Difference) XRAY: 1.25

_373 0.1  0.2  0.3

Long   C(sp)-C(sp)   Bond $A -  $B = $F Ang.

Large deviations from generally accepted values may indicate model problems,

over refinement etc. Default C2-C2 = 1.25 Ang. (X-Ray) value from

Ladd & Palmer, Structure Determination by Xray Crystallography (1985).

Note:

- C4-C3 indicates a bond between an atom with 4 bonds and one with 3 bonds.

- Conjugated systems may cause some 'false alarm' messages.

#---------------------------------------------------------------------------

# >>> Test for unrefined Methyl Moiety

_380  0.0 10.0 10.0

Likely Unrefined X(sp2)-Methyl Moiety ........       $A

This test alerts for possible unrefined CH3 moieties.

(E.g. AFIX 33 instead of AFIX 137 etc. within the SHELXL realm)

#---------------------------------------------------------------------------

# >>> Test Methyl Moiety X-C-H Bond Angle

_390  6.5  9.5 14.5

Deviating Methyl $A X-C-H Bond Angle .... $F Deg.

Unusual Methyl Moiety X-C-H Angle (Ideally 109 Degrees).

#---------------------------------------------------------------------------

# >>> Test Methyl Moiety H-C-H Bond Angle

_391  7.5  9.5 14.5

Deviating Methyl $A H-C-H Bond Angle .... $F Deg.

Unusual Methyl Moiety H-C-H Angle (ideally 109 Degrees).

#===========================================================================

# >>> Test for short non-bonding intra H..H contacts

_410  0.4  0.5  0.6

Short Intra H...H Contact:$A .. $B = $F Ang.

Short intramolecular contacts may arise when H-atoms are in (false)

calculated positions. Short intramolecular contacts may also be a sign for a

false structure with the molecule sitting on a site with improper site

symmetry (e.g. '2' instead of '-1') which may happen when a lattice

translation is missed. Short contacts are defined using a van der Waals

radius of 1.2 Angstrom. For intramolecular contacts alerts are generated

for contacts less than 2.0 Angstrom.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter H..H contacts

_411    0  0.3  0.5

Short Inter H...H Contact:$A .. $B = $F Ang.

Short intermolecular H..H contacts may indicate incorrectly determined

structures (i.e. wrong symmetry, missed translation symmetry, wrong position

with reference to the symmetry elements, hydrogen atoms on atoms where there

should not be any  etc..)

Short intermolecular contacts may be indicative for inconsistent symmetry

data (e.g. coordinates for space group P43 and symmetry specified as P41 or

P21/n & P21/c confusions). Short contacts are defined using a van der Waals

radius of 1.2 Angstrom. For intermolecular contacts, an alert is generated

for contacts less than 2.4 Angstrom.

#===========================================================================

# >>> Test for short non-bonding intra H..H contacts (involving XH3)

_412  0.5  0.6  0.7

Short Intra XH3 .. XHn  : $A .. $B = $F Ang.

Short intramolecular contacts may arise when H-atoms are in (false)

calculated positions. Short intramolecular contacts may also be a sign for a

false structure with the molecule sitting on a site with improper site

symmetry (e.g. '2' instead of '-1') which may happen when a lattice

translation is missed. Short contacts are defined using a van der Waals

radius of 1.2 Angstrom. Short H .. H contact involving CH3 H-atoms are often

hampered by the fact that they involve H atoms at not optimal calculated

position.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter H..H contacts (involving XH3)

_413  0.0  0.3  0.5

Short Inter XH3 .. XHn  : $A .. $B = $F Ang.

Short intermolecular H..H contacts may indicate incorrectly determined

structures (i.e. wrong symmetry, missed translation symmetry, wrong position

with reference to the symmetry elements, hydrogen atoms on atoms where there

should not be any  etc..). Short intermolecular contacts may be indicative

for inconsistent symmetry data (e.g. coordinates for space group P43 and

symmetry specified as P41 or P21/n & P21/c confusions). Short contacts are

defined using a van der Waals radius of 1.2 Angstrom. Short H .. H contact

involving CH3 H-atoms are often hampered by the fact that they involve

H atoms at not optimal calculated position.

#===========================================================================

# >>> Test for short non-bonding intra D-H..H-X contacts

_414  0.4  0.5  0.6

Short Intra D-H..H-X      $A .. $B = $F Ang.

Short non-bonding intra D-H..H-X contact.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter D-H..H-X contacts

_415  0.1  0.3  0.5

Short Inter D-H..H-X      $A .. $B = $F Ang.

Short non-bonding inter D-H..H-X contact.

#===========================================================================

# >>> Test for short non-bonding intra D-H..H-D contacts

_416  0.4  0.5  2.5

Short Intra D-H..H-D      $A .. $B = $F Ang.

Short non-bonding intra D-H..H-D contacts may be related to disordered or

misplaced H-atoms.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter D-H..H-D contacts

_417    0  0.3  2.5

Short Inter D-H..H-D      $A .. $B = $F Ang.

Short non-bonding inter D-H..H-D contacts may be related to disordered or

misplaced H-atoms.

#---------------------------------------------------------------------------

# >>> Test for D-H without acceptor

_420    0  1.5   99

D-H Without Acceptor      $A -  $B            ?

Potential hydrogen bond donors are checked for the presence of suitable

acceptors using commonly used (Jeffrey) H-bond criteria. As a general rule

there should be an acceptor for each donor. Exceptions are very rare for O-H

and more common for -NH and -NH2. A common error is an -OH on a calculated

position pointing in the wrong direction.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter D...A contacts

_430    0 0.19 0.50

Short Inter D...A Contact:$A .. $B = $F Ang.

This test alerts for possibly missed Hydrogen bonds as indicated by short

(i.e. shorter than sum of the van der Waals radii - 0.2)

Donor - Acceptor distances.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter HL...A contacts

_431  0.0 0.30 0.50

Short Inter HL..A Contact:$A .. $B = $F Ang.

This test reports on short intermolecular Halogen .. Donor/Acceptor

atom-type distances.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding inter X...Y contacts

_432  0.2 0.30 0.50

Short Inter X...Y Contact:$A .. $B = $F Ang.

This test raised an ALERT for short intermolecular contacts.

In general, intermolecular contact distances should be not much smaller than

the sum of the associated van der Waals Radii. More often than not, such

short contacts can be a warning sign for errors. All short contacts should

therefor examined in some detail. Interesting exceptions are carbonyl-

carbonyl interactions that often feature short O...C contacts (see Allen

et al. (1998) B54, 320-329.

#---------------------------------------------------------------------------

# >>> Test for short non-bonding minor..minor inter X...Y contacts

_433  0.5 0.85 1.00

Short Inter X...Y Contact:$A .. $B = $F Ang.

This test raised an ALERT for short intermolecular contacts between minor

disorder components. In general, intermolecular contact distances should be

not much smaller than the sum of the associated van der Waals Radii. More

often than not, such short contacts can be a warning sign for errors. All

short contacts should therefor examined in some detail. Interesting

exceptions are carbonyl-carbonyl interactions that often feature short O...C

contacts (see Allen et al. (1998) B54, 320-329.

#===========================================================================

# >>> Test for solvent accessible voids

_601   30  100  200

Structure Contains Solvent Accessible VOIDS of $F A**3

Crystal structures in general do not contain large solvent accessible voids

in the lattice. Most structures loose their long-range ordening when solvent

molecules leave the crystal. Only when the remaining network is strongly

bonded (e.g. zeolites and some hydrogen bonded networks) the crystal

structure may survive.

Residual voids in a structure may indicate the omission of (disordered)

density from the model. Disordered density may go undetected when smeared

since peak search programs are not designed to locate maxima on density

ridges. The presence or absence of residual density in the void may be

veryfied on a printed/plotted difference Fourier map or with PLATON/SQUEEZE.

Voids of 40 Ang**3 may accommodate H2O. Small molecules such as

Tetrahydrofurane have typical volumes in the 100 to 200 Ang**3 range.

This test reports the volume of the largest solvent accessible void in the

structure.

A paper reporting a crystal structure with a significant solvent accessible

void should at the least discuss the issue.

#===========================================================================

# >>> Test for TOO LARGE solvent accessible voids

_602    0    2    2

VERY LARGE Solvent Accessible VOID(S) in Structure      !

This test reports on a void, too large or too time consuming for the

current PLATON version for more detailed analysis as part of the

validation run.  (Use SOLV option for more details).

Such a warning might also indicate that the symmetry is incomplete

e.g. should have been specified as P-1 and not P1, leeaving out half of

the unitcell content.

#===========================================================================

# >>> Test for TOO LARGE Unit Cell for VOID search

_603    0    2    2

Unit Cell TOO large for VOID SEARCH in Structure        !

No search for solvent accessible VOIDS done as part of VALIDATION in

view of large unitcell.

#===========================================================================

# >>> Test for TOO Many VOIDS

_604    0    2    2

Too many VOIDS detected in Structure ...........        !

Too many solvent accessible VOIDS.

#===========================================================================

# >>> Test for consistency of Bonds and Coordinates in CIF

_701  1.0  2.0  3.0

Bond    Calc$X, Rep$Y, Dev.$F Sigma

Bond distances given in the CIF are cross-checked with corresponding

values calculated from the coordinates.  Alerts are set at 1,2 and 3 sigma

deviation levels.

Note: Default s.u.'s are used where no su given (e.g. for C-H)

In general, all differences should be within the associated s.u.

Small differences may arise from rounding.

Very large deviation (or zero distance) normally indicate incorrectly

specified symmetry operations on the associated atoms, or 'cut-and-pasting'

of incompatible CIF's.

#---------------------------------------------------------------------------

# >>> Test for consistency of Angles and Coordinates in CIF

_702  1.0  2.0  3.0

Angle   Calc$X, Rep$Y, Dev.$F Sigma

Bond Angles given in the CIF are cross-checked with corresponding values

calculated from the coordinates.  Alerts are set at 1,2 and 3 sigma

deviation levels.

In general, all differences should be within the associated s.u.

Small differences may arise from rounding.

Very large deviation (or zero distance) normally indicate incorrectly

specified symmetry operations on the associated atoms, or 'cut-and-pasting'

of incompatible CIF's.

#---------------------------------------------------------------------------

# >>> Test for consistency of Torsions and Coordinates in CIF

_703  1.0  2.0  3.0

Torsion Calc$X, Rep$Y, Dev.$F Sigma

Torsion angles given in the CIF are cross-checked with corresponding values

calculated from the coordinates.  Alerts are set at 1,2 and 3 sigma

deviation levels.

In general, all differences should be within the associated s.u.

Small differences may arise from rounding.

Very large deviation (or zero distance) normally indicate incorrectly

specified symmetry operations on the associated atoms, or 'cut-and-pasting'

of incompatible CIF's.

#---------------------------------------------------------------------------

# >>> Test for consistency of Contact Distances and Coordinates in CIF

_704  1.0  2.0  3.0

Contact Calc$X, Rep$Y, Dev.$F Sigma

Intermolecular contacts listed in the CIF are checked against the

coordinates in the CIF.

Alerts are set at 1,2 and 3 sigma deviation levels.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D-H distances and Coordinates in CIF

_705  1.0  2.0  3.0

D-H     Calc$X, Rep$Y, Dev.$F Sigma

Hydrogen-Bond D-H listed in the CIF is checked.  Alerts are set at

1,2 and 3 sigma deviation levels.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond H..A Distances and Coordinates in CIF

_706  1.0  2.0  3.0

H...A   Calc$X, Rep$Y, Dev.$F Sigma

Hydrogen-Bond H..A listed in the CIF is checked. Alerts are set at 1,2 and

3 sigma deviation levels.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D..A Distances and Coordinates in CIF

_707  1.0  2.0  3.0

D...A   Calc$X, Rep$Y, Dev.$F Sigma

Hydrogen-Bond D..A listed in the CIF is checked. Alerts are set at 1,2 and

3 sigma deviation levels.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D-H..A Angles and Coordinates in CIF

_708  1.0  2.0  3.0

D-H..A  Calc$X, Rep$Y, Dev.$F Sigma

Hydrogen-Bond Angle D-H..A listed in the CIF is checked. Alerts are set at

1,2 and 3 sigma deviation levels.

#---------------------------------------------------------------------------

# >>> Test for Linear Torsions in CIF

_710    0    2    2

Delete 1-2-3 or 2-3-4 (CIF) Linear Torsion Angle #  $A

Torsion angles specified in the CIF are checked for the

'linear variety' where one or both of the 1-2-3 and 2-3-4 bond

angles are close to 180 Deg. SHELXL97 will generate those 'torsions' for

molecules containing linear moieties (E.g. Metal-C=O).

#===========================================================================

# >>> Test for label problems for Bonds in CIF

_711    0   99   99

BOND    Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for Angles in CIF

_712    0   99   99

ANGLE   Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for Torsions in CIF

_713    0   99   99

TORSION Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for Contact Distances in CIF

_714    0   99   99

CONTACT Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for H-Bond D-H distances in CIF

_715    0   99   99

D-H     Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for H-Bond H..A Distances in CIF

_716    0   99   99

H...A   Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for  H-Bond D..A Distances in CIF

_717    0   99   99

D...A   Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#---------------------------------------------------------------------------

# >>> Test for label problem for H-Bond D-H..A Angles in CIF

_718    0   99   99

D-H..A  Unknown or Inconsistent Label ........       $A

When labels are found on geometry items (bonds, angles etc.) that are not in

the coordinate list, and alert _71n is issued, related to alert _70n.

#===========================================================================

# >>> Test for Unusual Labels

_720    0    2    2

Number of Unusual/Non-Standard Label(s) ...... $I

Up to 4 Character Labels of the type C11, H101, N10A are to be preferred.

#===========================================================================

# >>> Test for consistency of Bonds and Coordinates in CIF

_721  1.0  2.0  3.0

Bond    Calc$X, Rep$Y, Dev.$F Ang.

Same as 701 but for distance without su (esd). Difference is tested in terms

of Angstroms.

#---------------------------------------------------------------------------

# >>> Test for consistency of Angles and Coordinates in CIF

_722  1.0  2.0  3.0

Angle   Calc$X, Rep$Y, Dev.$F Deg.

Same as 702 but for angle without su (esd). Difference is tested in terms of

Degrees.

#---------------------------------------------------------------------------

# >>> Test for consistency of Torsions and Coordinates in CIF

_723  1.0  2.0  3.0

Torsion Calc$X, Rep$Y, Dev.$F Sigma

Same as 703 but for torsion without su (esd). Difference is tested in terms

of Degrees.

#---------------------------------------------------------------------------

# >>> Test for consistency of Contact Distances and Coordinates in CIF

_724  1.0  2.0  3.0

Contact Calc$X, Rep$Y, Dev.$F Ang.

Same as 704, but for distance without su (esd). Difference is tested in

terms of Angstroms.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D-H distances and Coordinates in CIF

_725  1.0  2.0  3.0

D-H     Calc$X, Rep$Y, Dev.$F Ang.

Same as 705 but for distance without s.u. (esd). Differences are tested in

terms of Angstrom.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond H..A Distances and Coordinates in CIF

_726  1.0  2.0  3.0

H...A   Calc$X, Rep$Y, Dev.$F Ang.

Same as 706 but for distance without s.u. (esd). Differences are tested in

terms of Angstrom.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D..A Distances and Coordinates in CIF

_727  1.0  2.0  3.0

D...A   Calc$X, Rep$Y, Dev.$F Ang.

Same as 707 but for distance without s.u. (esd). Differences are tested in

terms of Angstrom.

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D-H..A Angles and Coordinates in CIF

_728  1.0  2.0  3.0

D-H..A  Calc$X, Rep$Y, Dev.$F Deg.

Same as 708 but for angle without s.u. (esd). Differences are tested in

terms of Degrees.

#---------------------------------------------------------------------------

# >>> Test for consistency of Bond su's and Coordinate su's in CIF

_731  2.0  4.0  8.0

Bond    Calc$X, Rep$Y .... $F s.u-Ratio

Same as 701 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of Angles and Coordinates in CIF s.u.'s

_732  2.0  4.0  8.0

Angle   Calc$X, Rep$Y .... $F s.u-Ratio

Same as 702 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of Torsions and Coordinates in CIF  s.u's

_733  2.0  4.0  8.0

Torsion Calc$X, Rep$Y .... $F s.u-Ratio

Same as 703 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of Contact Distance s.u. and Coordinate s.u. in CIF

_734  2.0  4.0  8.0

Contact Calc$X, Rep$Y .... $F s.u-Ratio

Same as 704 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D-H distance s.u. and Coordinate s.u in CIF

_735  2.0  4.0  8.0

D-H     Calc$X, Rep$Y .... $F s.u-Ratio

Same as 705 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond H..A Distance s.u. and Coordinates in CIF

_736  2.0  4.0  8.0

H...A   Calc$X, Rep$Y .... $F s.u-Ratio

Same as 706 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D..A Distance s.u. and Coordinates in CIF

_737  2.0  4.0  8.0

D...A   Calc$X, Rep$Y .... $F s.u-Ratio

Same as 707 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for consistency of H-Bond D-H..A Angle and Coordinates in CIF s.u.

_738  2.0  4.0  8.0

D-H..A  Calc$X, Rep$Y .... $F s.u-Ratio

Same as 708 but for reported and calculated s.u.'s (Ratio). This check should

warn for erroneous rounding: E.g. 105.5(19) to 105.5(2) or 105.0(5) to 105(5)

etc. Note: Large differences are possible when certain constraints/restrains

were applied in the refinement (e.g. the FLAT option in SHELXL97).

#---------------------------------------------------------------------------

# >>> Test for missing Bond su in CIF

_741  0.0 99.0 99.0

Bond    Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on Bond in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing Angle s.u. in CIF

_742  0.0 99.0 99.0

Angle   Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on Bond angle in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing Torsion s.u. in CIF

_743  0.0 99.0 99.0

Torsion Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on Torsion angle in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing Contact Distance s.u.  in CIF

_744  0.0 99.0 99.0

Contact Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on contact Distance in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing H-Bond D-H distance s.u. in CIF

_745  0.0 99.0 99.0

D-H     Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on H-Bond D-H distance in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing H-Bond H..A Distance s.u. in CIF

_746  0.0 99.0 99.0

H...A   Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on H-Bond H...A distance in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing H-Bond D..A Distance s.u. in CIF

_747  0.0 99.0 99.0

D...A   Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on H-Bond D...A distance in CIF.

#---------------------------------------------------------------------------

# >>> Test for missing H-Bond D-H..A Angle s.u. in CIF

_748  0.0 99.0 99.0

D-H..A  Calc$X, Rep$Y ....    Missing s.u.

Likely missing s.u. on H-Bond D-H..A angle in CIF.

#---------------------------------------------------------------------------

# >>> Test for senseless Bond s.u. in CIF

_751  0.0 99.0 99.0

Bond    Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained distances.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for senseless Angle s.u. in CIF

_752  0.0 99.0 99.0

Angle   Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained angles.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for senseless Torsion s.u. in CIF

_753  0.0 99.0 99.0

Torsion Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained torsion angles.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for senseless Contact Distance s.u.  in CIF

_754  0.0 99.0 99.0

Contact Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained contact distances.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for senseless  H-Bond D-H distance s.u. in CIF

_755  0.0 99.0 99.0

D-H     Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained distances.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for senseless  H-Bond H..A Distance s.u. in CIF

_756  0.0 99.0 99.0

H...A   Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained distances.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for senseless  H-Bond D..A Distance s.u. in CIF

_757  0.0 99.0 99.0

D...A   Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained distances.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for Senseless  H-Bond D-H..A Angle s.u. in CIF

_758  0.0 99.0 99.0

D-H..A  Calc$X, Rep$Y ....  Senseless s.u.

An s.u. should not be given in the CIF for constrained angles.

Please check for proper refinement status flags (e.g. R)

#---------------------------------------------------------------------------

# >>> Test for the presence of at least one X-H in the CIF

_761    0    0    0

CIF Contains no X-H Bonds ....................          ?

The CIF contains no X-H Bonds. This might be caused by not using the

SHELXL instruction BOND $H

#---------------------------------------------------------------------------

# >>> Test for at least one X-Y-H or H-Y-H entry in the CIF

_762    0    0    0

CIF Contains no X-Y-H or H-Y-H Angles ........          ?

The CIF contains no X-Y-H or H-Y-H bond angles. This might be caused by

not using the SHELXL instruction BOND $H. Those data should also be

supplied when H-atoms are introcuced on calculated position and/or

refined riding on their carrier atom.

#---------------------------------------------------------------------------

# >>> Test for missing bonds in CIF

_763 0.01  0.1  5.0

Incomplete CIF Bond list Detected (Rep/Expd) . $F Ratio

Bond list in CIF likely incomplete.

#---------------------------------------------------------------------------

# >>> Test for overcomplete bonds in CIF

_764  0.1  5.0  5.0

Overcomplete CIF Bond list Detected (Rep/Expd) $F Ratio

The CIF contains more bonds than the unique set, indicating redundancy.

An example is redundancy due to the inclusion of symmetry related bonds.

#---------------------------------------------------------------------------

# >>> Test for suspect C-H bonds in CIF (Not caught otherwise)

_770  0.0  0.0  0.0

Suspect C-H Bond in CIF   $A -  $B = $F Ang.

Report on unusual C-H bonds not caught in other tests.

#---------------------------------------------------------------------------

# >>> Test for suspect N-H bonds in CIF (Not caught otherwise)

_771  0.0  0.0  0.0

Suspect N-H Bond in CIF   $A -  $B = $F Ang.

Report on unusual N-H bonds not caught in other tests.

#---------------------------------------------------------------------------

# >>> Test for suspect O-H bonds in CIF (Not caught otherwise)

_772  0.0  0.0  0.0

Suspect O-H Bond in CIF   $A -  $B = $F Ang.

Report on unusual O-H bonds not caught in other tests.

#---------------------------------------------------------------------------

# >>> Test for suspect C-C bonds in CIF (Not caught otherwise)

_773  0.0  0.0  0.0

Suspect C-C Bond in CIF   $A -  $B = $F Ang.

Report on unusual C-C bonds not caught in other tests.

#---------------------------------------------------------------------------

# >>> Test for suspect Angle in CIF (Not caught otherwise)

_779  0.0  9.0  9.0

Suspect or Irrelevant (Bond) Angle in CIF .... $F Deg.

Irrelevant (Bond)angles might be considered for elimination from the CIF.

#---------------------------------------------------------------------------

# >>> Test whether coordinates form a connected set

_780    0    0    0

Coordinates do not Form a Properly Connected Set        ?

Atoms given in a CIF should form a 'connected set', i.e. no symmetry

operations are needed to get atoms in a bonding position. A connected set of

atoms is not needed for the least squares refinement (unless hydrogen atoms

are to be added at calculated positions). Geometry listings (bonds, angles,

torsions & H-bonds) become unwieldy for non-connected atom sets.

#---------------------------------------------------------------------------

# >>> Test Whether C.G. Residue in Unitcell Box

_790    0    2    2

Centre of Gravity not Within Unit Cell: Resd.# $I

Unless for a good reason, molecular species should be transformed

(by symmetry and/or translation) so that their centres of gravity

are close to or within the unitcell bounds. This is a strict rule for the

main species. Deviations from this general rule are smaller additional

species when relevant for intermolecular interactions with the main species.

#---------------------------------------------------------------------------

# >>> Test for missing, incomplete or out-of-order Cell data

_801  0.0  0.0  0.0

Cell Data Missing, Incomplete or Out-of-Order

PLATON has a problem with the Cell data. The possible reason can be that

the cell data are missing, incomplete or out-of-sequence. PLATON/CHECK wishes

to see the cell and symmetry data before any coordinates are given.

#---------------------------------------------------------------------------

# >>> Test for Input lines longer than 80 Characters

_802  0.0  0.0  0.0

CIF Input line(s) with more than 80 Characters          !

Fatal Problem: Check CIF for too long lines (i.e. longer than 80 characters)

The CIF definition specifies a maximum of 80 character per record.

#---------------------------------------------------------------------------

# >>> Test for Loop problem in CIF-Read

_803  0.0  0.0  0.0

Loop Problem in CIF-Reading (Too Many loop Items)       !

Fatal Problem: Check loop datanames and data for errors. There are

likely too many or to few data in the loop.

#---------------------------------------------------------------------------

# >>> Test for ARU-Pack Problem in PLATON

_804    0    2    2

ARU-Pack Problem in PLATON Analysis .............       !

Problem: ARU representations needed outside -5:5 unitcell translations.

The Analysis might be incomplete.

#===========================================================================

$ END-OF-SECTION